## HFMar1
HotFix Released Detailed
Week: 9, 10 - 2013
ArchestrA Reports
Product | InTouch 10.5
Component | ArchestrA Graphics |  | Ragaei Mahmoud
Hot Fix CR# | L00125245 | Hot Fix Status: | Released-Unverified
Summary: | SR 103127566-:-Application Server 3.5;ArchestrA Graphic Symbol : Problems when resizing an Archestra Symbol with blink animation and gradient fill color
Actual Result: | The customer has notified us about a problem that occurs when He creates an Archestra Symbol with Blink animation and He sets a gradient color in the Fill Color field of Blink Attributes. If He shows this Symbol from another one with Show Symbol animation, When He resizes the popup window or He sets the scale different from 100%, the gradient color doesn't resize properly. If He makes the graphic smaller, it's shown only a part of the gradient. If the graphic is bigger, the gradient starts again at the end of it.
Expected Result: | The gradient should appear normally even if the symbol resized.

## HFMar2
HotFix Released Detailed
Week: 9, 10 - 2013
ArchestrA Reports
Product | InTouch 10.1 SP3 P01
Component | ArchVis-ClientControl |  | piriya karthikeyan
Hot Fix CR# | L00125017 | Hot Fix Status: | Released-Verified
Summary: | SR43610264 - Poor performance of Archestra Trend Client if Intouch LGH files are used. CPU usage of view.exe keeps increasing and goes to 100%
Actual Result: | The CPU usage of view.exe keeps increasing when using Intouch LGH files in Archestra Trend Client Control. Please see screen shot of my test results attached to this CR. The test started at 8:00 AM and at that time, CPU usage was less than 5%. After almost 5 hours, CPU usage went to 67%.
Expected Result: | Expect to not have CPU usage of View.exe increase when using LGH files in Trend Client Control.

## HFMar3
HotFix Released Detailed
Week: 9, 10 - 2013
ArchestrA Reports
Product | InSQL 11.0
Component | Retrieval Service |  | Chris Boutcher
Hot Fix CR# | L00124952 | Hot Fix Status: | Released-Verified
Summary: | SR 103127213 and 103127215 - No data from AppServer at the beginning of trend; initial value returns NULL when AIHistory=1
Actual Result: | After upgrade to Historian 2012R2 we first notices that the trend would not show a value unless the time picker was set prior to value being inserted (in other words it would not return current value as same as last value). Upon further research we found that running a query against the historian (retrieval mode appears to have no effect) that the query returns null unless we set the starttime of the query prior to recorded value. Upgrade was from Historian 9.0 (to Historian 10.0 to Historian 11). This happens no matter what the retrieval mode is set to. Temporary workaround is to set AIHistory=0 in order to get non-NULL initial value, but then you are no longer able to query old data from "classic stored" history blocks.
Expected Result: | All Data should be displayed on the trend. Initial value should be non-NULL with Quality=133 (when appropriate).

## HFMar4
HotFix Released Detailed
Week: 9, 10 - 2013
ArchestrA Reports
Product | Industrial Application Server 3.5 Patch01
Component | LMX |  | Fernando Gonzalez
Hot Fix CR# | L00125111 | Hot Fix Status: | Released-Unverified
Summary: | [Genentech] SR 14812231 Unexpectedly high number of NetNMXHearbeatsMissedCnt for all platforms in the Galaxy
Actual Result: | Genentech pre-production environment is having repeated MX heartbeats missed messages in pretty much all nodes. See attached log file for an example of messages like this: 936189 1/28/2013 11:14:34 AM 2768 1960 NmxSvcError NmxSvc Missed 1 heartbeat(s) from platform 10. Time difference 2251. CCP1POTS01 NmxSvc 229.119.238.73
Expected Result: | We have to explain to customer why this is and provide a corrective action. We suspect that this behavior may have been introduced by a recent fix in calculation of heartbeats and delivered to Genentech as part of Bundle4. It may also be introduced by something specific to Genentech's environment, network, Domain...

## HFMar5
HotFix Released Detailed
Week: 9, 10 - 2013
ArchestrA Reports
Product | InTouch 10.1 SP3 P01
Component | WindowViewer |  | Antonino Vella
Hot Fix CR# | L00125093 | Hot Fix Status: | Released-Unverified
Summary: | [Customer: PMI]- [Issue:InTouch freeze 3 seconds every 10 seconds when Dummy topic is configured] Xref SR 103127251
Actual Result: | when we have a lot of lines in "OFF" mode, the application periodically freezes for a few seconds (3 seconds every 10 seconds).
Expected Result: | no freezing should happens at all any workaround\possible solution for this?!

## HFMar6
HotFix Released Detailed
Week: 9, 10 - 2013
ArchestrA Reports
Product | InTouch 10.1 SP3 P01
Component | WindowViewer |  | Michael Ang
Hot Fix CR# | L00124907 | Hot Fix Status: | Released-Unverified
Summary: | [Azbil] SR#41810063 - NAD client app fails to get the change by DBLoad, Clone for Simplified Chinese version
Actual Result: | changes to tag dictionary by DBLoad is not delivered to client nodes via NAD functionality in InTouch 10.1 SP3 P01. As is always the case with Azbil, it claims that it had been working alright with legacy 7.11 version
Expected Result: | Changes to tags using DBLoad should filter to all the NAD clients

## HFMar7
HotFix Released Detailed
Week: 9, 10 - 2013
ArchestrA Reports
Product | InTouch 10.1 SP3 P01
Component | WindowViewer |  | Michael Ang
Hot Fix CR# | L00124906 | Hot Fix Status: | Released-Unverified
Summary: | [Azbil] SR#41810063 - NAD client app fails to get the change by DBLoad, Clone for Japanese HF
Actual Result: | changes to tag dictionary by DBLoad is not delivered to client nodes via NAD functionality in InTouch 10.1 SP3 P01. As is always the case with Azbil, it claims that it had been working alright with legacy 7.11 version
Expected Result: | Changes to tags using DBLoad should filter to all the NAD clients

## HFMar8
HotFix Released Detailed
Week: 9, 10 - 2013
ArchestrA Reports
Product | InTouch 10.1 SP3 P01
Component | ActiveX |  | Michael Ang
Hot Fix CR# | L00123642 | Hot Fix Status: | Released-Unverified
Summary: | [Azbil] SR#41810081 - ActiveX properties lose their link to associated InTouch tags after its host window is imported.
Actual Result: | After import of a Window that contain an OCX, the activex properties loses the link to the associated tag. Please note that this issue seems to be introduced by CR# L00117933. The InTouch 10.1 SP3 P01 without L00117933 applied does not have this issue. (Please refer to the attached document for details)
Expected Result: | The activex properties should retain the link to tags.

## HFMar9
HotFix Released Detailed
Week: 9, 10 - 2013
ArchestrA Reports
Product | InTouch 10.5 Patch01
Component | AlarmClient (A2) |  | Ragaei Mahmoud
Hot Fix CR# | L00124935 | Hot Fix Status: | Released-Verified
Summary: | SR17114204; christian.kleinert@cra.heitec.de EU: AUDI AG, Ingolstadt/Germany; „Failed to Create Client Control“ and red cross within Alarm Client control
Actual Result: | Ask to clone the Patch L00120264 regarding the below customer's feedback: The customer has us call back with that :Hotfix will only work with language switch between English OS with InTouch Eng and German but not with other languages like Italy, Magyar and so on. This Hotfix failed also if you install German OS with InTouch German and switch than to English or any other language! Additional question for this Hotfix: Will this also work with published Applications? Customer installed the InTouch Runtime (without Galaxy Repository) on the View Clients this fix are not able to implement. Because this folder are not present: A. <Root Drive>:\Program Files\ArchestrA\Framework\Bin\Invensys_Systems__Inc__eac.dll B. <Root Drive>:\Program Files\ArchestrA\Framework\FileRepository\<GalaxyName>\Vendors\Invensys_Systems__Inc__eac.dll
Expected Result: | the alarm client control should work with language Pack also.

## HFMar10
HotFix Released Detailed
Week: 9, 10 - 2013
ArchestrA Reports
Product | InTouch 10.5 Patch01
Component | ArchestrA Graphics |  | Ragaei Mahmoud
Hot Fix CR# | L00124561 | Hot Fix Status: | Released-Verified
Summary: | SR 17114176 : Language Switching in IT AA Graphics / missing text in xml File
Actual Result: | When using the same archestrA graphic several times within an application and there is a text within this Graphic which was changed in WM with Strg+L, the text has the same PhraseID within the Language XML. After importing a translation, the text is not exported the next time, a Localization XML is created.
Expected Result: | After importing the translation file several times the text should always with the import.

## HFMar11
HotFix Released Detailed
Week: 9, 10 - 2013
ArchestrA Reports
Product | ActiveFactory 10.0 SP2
Component | Trend |  | Keynon Basinger
Hot Fix CR# | L00125197 | Hot Fix Status: | Released-Unverified
Summary: | SR# 103125631 and 103125575 : Data series with name "INSQLSERVER3:TT136B_#$$$$$5$$$$$" was not found in series collection
Actual Result: | Importing ActiveFactory v8.5 CRV configuration files fails in most of case. In most of cases, when customer import configuration files of ActiveFactory 8.5, the processes failed or in another cases, he loss tags scales and must redefine tags scales for each tag in the tag list. Issue reproducible when attempting to import to Historian Client 10SP0 and Historian Client 10SP2. Issue not reproducible importing to Active Factory 9.2
Expected Result: | Import the CRV configuration files with no error and not missing tags scales. Data series with name "INSQLSERVER3:TT136B_#$$$$$5$$$$$" was not found in series collection. Data series with name "INDUS4:DHcpP_Cpt_RemppliOK$$$$$1$$$$$" was not found in the series collection

## HFMar12
HotFix Released Detailed
Week: 9, 10 - 2013
ArchestrA Reports
Product | InBatch 8.1 SP1
Component | SecMngr |  | Matt Mummert
Hot Fix CR# | L00125218 | Hot Fix Status: | Released-Unverified
Summary: | [Colgate] SecMngr exits due to streamwrite failure, logs error: 0. Same issue as L00122981.
Actual Result: | SecMngr exits. Batch Server is then not running. Production system must be restarted runtime. In the case of customer, rebooted server. Logger message: Info SecMngr StreamWrite [SecMngr.c 699 (error: 0)]
Expected Result: | SecMngr should not exit due to failure of writing a response. It should continue to run because it is a critical runtime application.

## HFMar13
HotFix Released Detailed
Week: 9, 10 - 2013
ArchestrA Reports
Product | AAWebGraphics 4.5
Component | aaRuntime Library |  | Spark Hong
Hot Fix CR# | L00124816 | Hot Fix Status: | Released-Verified
Summary: | SR 103127254 - Quality and status Indicator displayed in WIS is not the same as in InTouch Viewer.
Actual Result: | 1. When set the quality to 4 or 24, the InTouch window displays status as 'Bad' but WIS displays nothing. 2. When set the quality to 85 or 86, the InTouch window displays status as 'Uncertain' but WIS displays nothing. Some other quality working fine in both InTouch and WIS, e.g. set the quality to 32 or 64
Expected Result: | All behaviors in InTouch and WIS should be the same.

## HFMar14
HotFix Released Detailed
Week: 9, 10 - 2013
ArchestrA Reports
Product | Industrial Application Server 3.6
Component | MxConsumer |  | Gary Alldredge
Hot Fix CR# | L00124824 | Hot Fix Status: | Released-Unverified
Summary: | SR 43610739 - When using FSgateway in a multi-galaxy configuration and adding a large number tags to FSgateway using an OPC Client the tags get stuck in an initializing state.
Actual Result: | When using FSgateway in a multi-galaxy configuration and adding a large number tags to FSgateway using an OPC Client the tags get stuck in an initializing state.
Expected Result: | Able to add a large number of tags in this configuration.

## HFMar15
HotFix Released Detailed
Week: 9, 10 - 2013
ArchestrA Reports
Product | InTouch 10.5 Patch01
Component | InTouch |  | Ragaei Mahmoud
Hot Fix CR# | L00125021 | Hot Fix Status: | Released-Unverified
Summary: | SR 103127556 : DBDump isnt using right List Separator with Windows 2008 Server SP2
Actual Result: | When you perform DB dump on Windows 2008 Server SP2 it uses just comas as list separators not the ones set in regional settings
Expected Result: | DB dump should uset the list separator set in regional settings

## HFMar16
HotFix Released Detailed
Week: 9, 10 - 2013
ArchestrA Reports
Product | Industrial Application Server 3.6
Component | User Defined |  | Rich Liddell
Hot Fix CR# | L00125088 | Hot Fix Status: | Released-Verified
Summary: | Field attribute does not show the correct value unless Buffered Data is selected. This may become a P1 soon
Actual Result: | Field attribute set for integer not historized with a input source going through OPC DI object has the wrong value with good quality He has thousands of points currently in this bad state. They have thousands out FA so setting the buffered data is not a quick fix Seems to work correctly only if we select Buffered data is enabled Seems to happen most with Slow changing FA
Expected Result: | Value should match the PLC

## HFMar17
HotFix Released Detailed
Week: 9, 10 - 2013
ArchestrA Reports
Product | Industrial Application Server 3.6
Component | User Defined |  | Luca Santinello
Hot Fix CR# | L00124940 | Hot Fix Status: | Released-Verified
Summary: | SR 27810889 - User defined obj Analog Field attribute display 0 also if on the plc Double Word value change from 0 to -2147483648 (only the signed bit of the DW is set to True).
Actual Result: | Customer is reading a double word (32 bit), from an S7 plc, by using SIDirect DAS to an User defined obj Analog Field attribute; he uses the single bit in order to manage discrete alarms in IAS. He noticed that, if the value present in the plc double word is 0, when the UD object is deployed (or if the object is already deployed the machine is restarted) and the first bit modified in the plc double word is the signed bit, the User defined obj Analog Field attribute value displayed in the object viewer is 0 instead -2147483648 (value displayed in the DAS diagnostic). Similar issue if, at the pc restart, the value present in the plc double word is -2147483648 the User defined obj Analog Field attribute value displayed in the object viewer is 0. Note if the other bits are forced, Field Attribute is updated correctly. Customer has noticed this problem after a galaxy migration from 3.5 p1 to 3.6, this behavior isn't present with IAS 3.5 p1
Expected Result: | Customer needs that the IAS 3.6 User defined obj Analog Field attribute always displays the correct value present in the plc like happens with the previous version 3.5 p1.

## HFMar18
HotFix Released Detailed
Week: 9, 10 - 2013
ArchestrA Reports
Product | InTouch InTouch 10.6
Component | AlarmClient (A2) |  | Luca Santinello
Hot Fix CR# | L00124873 | Hot Fix Status: | Released-Verified
Summary: | SR 43910669 - If it's used the Alarm Client ".Ack.Selected" method to acknoledge alarms the Alarm Comment disappear, not even the “STD ACK” message is displayed.
Actual Result: | If it's used the Alarm Client ".Ack.Selected" method to acknowledge alarms the "Alarm Comment" disappear, not even the “STD ACK” message is displayed. He uses the following script: AlarmClient1.Ack.Selected("") without comment in order to mantain the default alarm comment. If you use the Ack Selected command from the "context menu" all works fine. Customer discovered this issue after an application migration from 10.5 to 10.6, in 10.5 (with HF for CR L00119954) same command works fine.
Expected Result: | Customer is expecting that the Alarm Client ".Ack.Selected" method in Intouch 10.6 works like in the previous version.

## HFMar19
HotFix Released Detailed
Week: 9, 10 - 2013
ArchestrA Reports
Product | InBatch InBatch 9.5 SP1
Component | SDK |  | Matt Mummert
Hot Fix CR# | L00125151 | Hot Fix Status: | Released-Unverified
Summary: | [Pepsico - Naked Juice] (HF) Batch Server and InTouch clients freeze - seems to be BatchSecCtrl use and SecMngr. Need same hot fix as we did for 8.1 SP1 Colgate.
Actual Result: | see L00123987 -- [Colgate - Mission Hills Mexico] (HF) Batch Server and InTouch clients freeze - seems to be BatchSecCtrl use and SecMngr.
Expected Result: | see L00123987 -- [Colgate - Mission Hills Mexico] (HF) Batch Server and InTouch clients freeze - seems to be BatchSecCtrl use and SecMngr.

## HFMar20
HotFix Released Detailed
Week: 9, 10 - 2013
ArchestrA Reports
Product | InTouch 10.1
Component | History |  | Feng Ye
Hot Fix CR# | L00124198 | Hot Fix Status: | Released-Verified
Summary: | SR 103126821 - History data lost in InTouch when SCADA System was hanged and restarted
Actual Result: | We have suggested the customer to use .csv file to create dummy tags and merge this file in the log file that has problems. He tried the method but not succeed. The customer told us that he has tested other SCADA software’s (iFix, RSview32 and smartSCADA). But this problem does not occur in other SCADA. So the customer is not convinced.
Expected Result: | 1. What I want to know is whether it is a designed weakness or it is just a bug. How to avoid this problem in the future? 2. To fix the defect and to be able to retrieve history data.

## HFMar21
HotFix Released Detailed
Week: 9, 10 - 2013
ArchestrA Reports
Product | WW MES 4.5
Component | Supervisor |  | Spark Hong
Hot Fix CR# | L00125022 | Hot Fix Status: | Released-Verified
Summary: | SR 42410184 - The shift information displayed in Supervisor is not as same as configured in MES Client.
Actual Result: | 1. There's no any shift displayed for Sunday. 2. Shift information displayed for two shift scenario is in correct. See detail the document.
Expected Result: | The shift information displayed in Supervisor should reflect what defined in MES Client.

## HFMar22
HotFix Released Detailed
Week: 9, 10 - 2013
ArchestrA Reports
Product | WW MES 4.5
Component | Database Scripts |  | Spark Hong
Hot Fix CR# | L00124288 | Hot Fix Status: | Released-Verified
Summary: | SR 42410173 - Need port the HF#L00123288 from SQL Server to Oracle.
Actual Result: | There is a problem when using a multi-operation process where WIP is produced and consumed along the process. Creating a Work Order from that process does not create all of the required JOB_BOM records. The only records created are for the final Operation. As a result, the BOM and Geneolgy tabs are greyed out at the non-final operations and BOM consumption is not possible. This worked fine in MES 4.0 SP2.
Expected Result: | Properly create Job_BOM records based on the process configuration.

## HFMar23
HotFix Released Detailed
Week: 9, 10 - 2013
ArchestrA Reports
Product | InTouch 10.5 Patch01
Component | AlarmClient (A2) |  | vladimir veselenyi
Hot Fix CR# | L00125103 | Hot Fix Status: | Released-Unverified
Summary: | SR[103127620]- customer wants to port the fix L00124873 to 3.5 P01 More description in notes If it's used the Alarm Client ".Ack.Selected" method to acknoledge alarms the Alarm Comment disappear, not even the “STD ACK” message is displayed.
Actual Result: | If it's used the Alarm Client ".Ack.Selected" method to acknowledge alarms the "Alarm Comment" disappear, not even the “STD ACK” message is displayed. He uses the following script: AlarmClient1.Ack.Selected("") without comment in order to mantain the default alarm comment. If you use the Ack Selected command from the "context menu" all works fine. Customer discovered this issue after an application migration from 10.5 to 10.6, in 10.5 (with HF for CR L00119954) same command works fine.
Expected Result: | Customer is expecting that the Alarm Client ".Ack.Selected" method in Intouch 10.6 works like in the previous version.

## HFMar24
HotFix Released Detailed
Week: 9, 10 - 2013
ArchestrA Reports
Product | Industrial Application Server 3.5 Patch01
Component | SQLData Object |  | piriya karthikeyan
Hot Fix CR# | L00124922 | Hot Fix Status: | Released-Unverified
Summary: | [SR 43610750] SQLDataGridUserCtrl on click event not working.
Actual Result: | SQLDataGridUserCtrl on click event not working. Tried the following events: Click, MouseClick. Customer wants to run a script when a row is clicked on the SQLDataGridUserCtrl during runtime in WindowViewer. **The the click event does not work on 3.6 as well.
Expected Result: | Expect the event Click to work when a row is clicked in SQLDataGridUserCtrl.

## HFMar25
HotFix Released Detailed
Week: 9, 10 - 2013
ArchestrA Reports
Product | InTouch 10.1 SP2 Patch01
Component | ArchestrA Graphics |  | Ragaei Mahmoud
Hot Fix CR# | L00125032 | Hot Fix Status: | Released-Unverified
Summary: | SR 103127094 : Appserver3.1SP2P01 &InTouch10.1SP2P01 :Key 'Del' doesn't work in the webBrowser.
Actual Result: | After creating a webBrowser control and embedding into Intouch window, delete button doesn't work.“WebBrowserShortcutsEnabled” property is “True”.
Expected Result: | Delete button should works properly.

## HFMar26
HotFix Released Detailed
Week: 9, 10 - 2013
ArchestrA Reports
Product | WW MES 4.5
Component | Database Scripts |  | Andrea Sartori
Hot Fix CR# | L00125143 | Hot Fix Status: | Released-Unverified
Summary: | [SR 43110283][Customer: Nestle] One of the calls to sp_U_Item_Cons_AddGeneology executed by sp_U_Item_Inv_ApplyIndistLots have the inv.sublot and fg_lot arguments exchanged, causing the call to execute incorrectly.
Actual Result: | The issue appeared while trying to declare Consumption from an Entity configured with Indistinguishable mode. One of the calls to "sp_U_Item_Cons_AddGeneology" executed by the "sp_U_Item_Inv_ApplyIndistLots" (at row 626) has the "inv.sublot" and "fg_lot" arguments reversed: - The actual arguments are: @wo_id, @oper_id, @seq_no, @shift_start, @shift_start_tz, @inv_item_id, @inv_lot_no, @fg_lot_no, @inv_sublot_no, @fg_sublot_no... - While they should be: @wo_id, @oper_id, @seq_no, @shift_start, @shift_start_tz, @inv_item_id, @inv_lot_no, @inv_sublot_no, @fg_lot_no, @fg_sublot_no... This causes the execution of the call to fail.
Expected Result: | Arguments should be passed in the right position.

## HFMar27
HotFix Released Detailed
Week: 9, 10 - 2013
ArchestrA Reports
Product | WW MES 4.5
Component | Supervisor |  | Spark Hong
Hot Fix CR# | L00125022 | Hot Fix Status: | Released-Unverified
Summary: | SR 42410184 - The shift information displayed in Supervisor is not as same as configured in MES Client.
Actual Result: | 1. There's no any shift displayed for Sunday. 2. Shift information displayed for two shift scenario is in correct. See detail the document.
Expected Result: | The shift information displayed in Supervisor should reflect what defined in MES Client.

## HFMar28
HotFix Released Detailed
Week: 9, 10 - 2013
ArchestrA Reports
Product | WW MES 4.5
Component | .NET Controls |  | Antonio Valieri
Hot Fix CR# | L00125008 | Hot Fix Status: | Released-Verified
Summary: | [XREF SR 103126504 - ASTOR Poland] When on InTouch 2012 P01 (10.5 P01) window I place a Count and Duration Control, and later I restart WindowMaker every control used in the application is invisible (MES Controls, AAGr RadioButton, etc...)
Actual Result: | When on InTouch 2012 P01 (10.5 P01) window I place a Count and Duration Control, and later I restart WindowMaker every control used in application are invisible (MES Controls, AAGr RadioButton, etc...). In SMC, there are entries: Unable to generate snapshot for control RadioButtonGroup1-System.ArgumentException: Parameter is not valid. at System.Drawing.Graphics.CheckErrorStatus(Int32 status) at System.Drawing.Graphics.FillRectangle(Brush brush, Int32 x, Int32 y, Int32 width, Int32 height) at System.Drawing.Graphics.FillRectangle(Brush brush, Rectangle rect) at ArchestrA.Visualization.GraphicLibrary.CommonControls.aaControlBase.SnapShot() Same situation on InTouch 10.5 (no P01). Earlier versions of InTouch works fine.
Expected Result: | buttons should not disappear.

## HFMar29
HotFix Released Detailed
Week: 9, 10 - 2013
ArchestrA Reports
Product | InTouch 10.1 SP3 P01
Component | SQL Access |  | Jerry Lau
Hot Fix CR# | L00124484 | Hot Fix Status: | Released-Verified
Summary: | SR 12612448: Request for a HF for wwsql.dll. The latest code for wwsql.dll (Baktun) code under Klocwork under VS 2010 has multiple NULL pointer dereferences.
Actual Result: | WindowViewer crashing every week. After the memory dump analysis by Blake Miller, it was found that in the latest wwsql.dll code under Klocwork under VS 2010, there are MULTIPLE NULL pointer dereferences detected. As indicated by the correspondence, an SR / CR is created to request for a HF for this problem.
Expected Result: | WindowViewer should not have memory leak nor crash every week. It should run continuously.

## HFMar30
HotFix Released Detailed
Week: 11, 12 - 2013
ArchestrA Reports
Product | WWInfoServer 4.5
Component | Reporting - Reports |  | piriya karthikeyan
Hot Fix CR# | L00125225 | Hot Fix Status: | Released-Verified
Summary: | [SR 40214130] WIS Report do not hold the selection parameters if there are multiple selection levels.
Actual Result: | Reporting Server Reports do not hold the selection parameters if there are multiple selection levels and if more than 1 item is selected in the first level. For example, if there are 10 items in the first level, only when one item is selected the second level appears properly. If more than one item or select all is chosen for the first level, then the second level is not active. You will see the report refresh and come back and clear the selection. The report work fine outside of WIS.
Expected Result: | Expect to be able to select more than one item or select all in first level and have the second level active.

## HFMar31
HotFix Released Detailed
Week: 11, 12 - 2013
ArchestrA Reports
Product | Industrial Application Server 3.1 SP3 P01
Component | Global Data Distribution |  | Oliver Varosanec
Hot Fix CR# | L00125442 | Hot Fix Status: | Released-Unverified
Summary: | SR: 34211435 - End Customer: Nestle Eau Claire (WI) - aaGlobalDataCacheMonitorSrv stops syncing GlobalData Cache from GRNode
Actual Result: | We see Error Messages in the Logger like: Couldn't get platform name - maybe the platform is not available at this time. IPlatformInformationClerk2::GetPlatformIdentity2(PlatformID=22), hr = 80040405 Checking the GlobalDataCache Files on that AOS Server Show that the Cache Files have not been synced with the GR since over a month. Platforms which have been added to the Galaxy, undeployed or deployed are not listet on this AOS Platform Table in the Registry. Event Logger shot that aaGlobalDataCacheMonitorsvr was crashing at 1/28/2013 11:50AM this is the same timestamp like the last Change of the cachefiles happend based on the file timestamp. The GlobalDatacacheMonitor Service was started but did not sync any data anymore even restarting aaGlobalDataCacheMonitor did not help a reboot or restart of aaBootstrap was required to fix that Problem. However it happend on Multiple Servers and a reboot or restart of aabootstrap is not feasable in a production System. This Issue caused also Platform ID missmatch and ENGINE ID missmatch and was require a redeploy of the whole platform with ist Engines and Automation Objects. I will try to create a crashdump of the GlobalDataCache Crash to see if we can find the Crash root Cause but the Service should be able to handle a reboot or a Crash and recover in a state where it is syncing Cache Data again.
Expected Result: | 1. Investigate why the aaGlobalDataCache does stop syncing when it get crashed or rebooted 2. Create a Hotfix to handle the reconnect to aaGlobalDataCacheMonitor by Bootstrap when aaGlobalDataCacheMonitor gets restartet (after a Crash)

## HFMar32
HotFix Released Detailed
Week: 11, 12 - 2013
ArchestrA Reports
Product | WWInfoServer 5.0
Component | Graphics |  | Edward Xu
Hot Fix CR# | L00125380 | Hot Fix Status: | Released-Unverified
Summary: | SR: 103127603: SR: 39910963 WIS Process Graphics - XML Exporter: If a published InTouch window has more than 41 references it doesn't read data from Galaxy.
Actual Result: | If a published InTouch window has more than 41 references it doesn't read data from Galaxy. A window with less references works. If I add some attributes for the number to exceed 41, the same window republished will not read data.
Expected Result: | The published InTouch window with more than 41 references show read data from Galaxy

## HFMar33
HotFix Released Detailed
Week: 11, 12 - 2013
ArchestrA Reports
Product | WW MES 4.0 SP 2
Component | MES Client |  | Jim Godfrey
Hot Fix CR# | L00125478 | Hot Fix Status: | Released-Unverified
Summary: | WW North customer JMC steel has an issue in the Order management feature with the Job_Bom not changing when new jobs are added and the Item is changed for the job.
Actual Result: | If you create a W/O in the order management feature and add a few jobs with Items and save it. Then change the Item in the job to another Item the Job_Bom for the all the Jobs still show the previous Items not the one for the new Item.
Expected Result: | Should show the correct item in the Job_Bom for the Item selected for the job.

## HFMar34
HotFix Released Detailed
Week: 11, 12 - 2013
ArchestrA Reports
Product | WW MES 4.5
Component | Sample Recording Object |  | Spark Hong
Hot Fix CR# | L00125287 | Hot Fix Status: | Released-Verified
Summary: | SR 103127745 - SP_U_Sample_UpdateStatus changes the status of an InProgress sample to Ready
Actual Result: | SP_U_Sample_UpdateStatus changes the status of an InProgress sample to Ready
Expected Result: | The expected behavior is for the sample to change from READY to IN PROGRESS when pulled or the first result is recorded. It should then never go back to READY

## HFMar35
HotFix Released Detailed
Week: 11, 12 - 2013
ArchestrA Reports
Product | InTouch 10.1 SP3 P01
Component | Alarm DB Logger |  | Ragaei Mahmoud
Hot Fix CR# | L00125424 | Hot Fix Status: | Released-Unverified
Summary: | xRef SR 103127794 - Custom Alarm Provider with Alm DB Logger: The current record is skipped. The equivalent ALM record has not been logged in the database
Actual Result: | logger filled up with Message: "The current record is skipped. The equivalent ALM record has not been logged in the database." I found other SR: 33410818, tried all options, but message is still there. 3.1SP3Patch1. AOS1, AOS2, GR This is a 24h production envirment.
Expected Result: | There should not be message: "The current record is skipped. The equivalent ALM record has not been logged in the database."

## HFMar36
HotFix Released Detailed
Week: 11, 12 - 2013
ArchestrA Reports
Product | Industrial Application Server 3.5 Patch01
Component | IDE |  | Torsten Klimaschewski
Hot Fix CR# | L00124769 | Hot Fix Status: | Released-Verified
Summary: | SR: 45530082 missing archestra symbol in InTouch view app
Actual Result: | sporadically missing archestra symbol in InTouch view app on the startup window.
Expected Result: | aagraphics need to be loaded steady.

## HFMar37
HotFix Released Detailed
Week: 11, 12 - 2013
ArchestrA Reports
Product | WWInfoServer 4.5
Component | Reporting - Reports |  | piriya karthikeyan
Hot Fix CR# | L00125225 | Hot Fix Status: | Released-Unverified
Summary: | [SR 40214130] WIS Report do not hold the selection parameters if there are multiple selection levels.
Actual Result: | Reporting Server Reports do not hold the selection parameters if there are multiple selection levels and if more than 1 item is selected in the first level. For example, if there are 10 items in the first level, only when one item is selected the second level appears properly. If more than one item or select all is chosen for the first level, then the second level is not active. You will see the report refresh and come back and clear the selection. The report work fine outside of WIS.
Expected Result: | Expect to be able to select more than one item or select all in first level and have the second level active.

## HFMar38
HotFix Released Detailed
Week: 11, 12 - 2013
ArchestrA Reports
Product | QI Analyst 8.0 SP2
Component | Automation |  | Roopa Herunde
Hot Fix CR# | L00125160 | Hot Fix Status: | Released-Unverified
Summary: | Sr# 24412233 : Provide Subgroup, Row, DatatableID and ColumnID properties on QIChart Control
Actual Result: | As of now there is no way to get the Subgroup, Row, DatatableID and ColumnID information for a point on the chart using OLE automation inside InTouch.
Expected Result: | Customer has requested a hot fix. Provide functionality to get Subgroup, Row, DatatableID and ColumnID information from a chart As per Jeff Barkehanai: The proposal is as follows: 1. If you want the subgroup / row for the selected point on the chart, you get the point number from the existing call SelectedPoint = #Chart.SelectedPoint 2. The subgroup / row information will be made available through the existing Stat Point object within the Chart %StatPoint = #Chart.GetStatPoint( SelectedPoint - 1 ); 3. There will be two new integer properties added to the StatPoint object. Subgroup = %StatPoint.Subgroup Row = %StatPoint.RowNumber Depending on the type of chart being displayed, the following values will be returned: X-Bar, p, np, u, c, or DPMO will return the Subgroup number of the requested point and RowNumber will equal 1. X-Individual and CuSum will return the Subgroup and RowNumber of the requested point. If column is not grouped, then RowNumber will equal 1. Moving-X and EWMA will return the greatest Subgroup number (most recent subgroup number) and it’s associated RowNumber of the requested point. If column is not grouped, then RowNumber will equal 1. Scatter Plot, Pareto, and Histogram will return meaningless data. Development will decide what values get returned, but most likely 0 or -1. *********************************************************** Also need to get the DatatableID and ColumnID as follows DataTableID = %StatPoint.DataTableID ColumnID = %StatPoint.ColumnID

## HFMar39
HotFix Released Detailed
Week: 11, 12 - 2013
ArchestrA Reports
Product | InTouch 10.5 Patch01
Component | PurgeArchive |  | Fernando Gonzalez
Hot Fix CR# | L00125382 | Hot Fix Status: | Released-Unverified
Summary: | SR 14832275: [GENENTECH] Deadlock during the purge activity if the alarm db logger manager does an update *This is a request to port the HF made for 10.5 under CR L00124939 to be ported into 10.5 Patch01
Actual Result: | Concurrent Purging/Logging can potentially lead to alarms lost in WWALMDB; Genentech wants to avoid that condition in their Galaxy running on ASP1210 - WAS 3.5 Patch01. Original Actual Results from CR L00124939 Applying in combiation L00123525 and L00119461 a side effect was coimng up that cause the alarm purge fail when the alarm db logger is asking for an update within a isolation level as serialization.
Expected Result: | no side effect should happen

## HFMar40
HotFix Released Detailed
Week: 11, 12 - 2013
ArchestrA Reports
Product | InTouch 10.1 SP2 Patch01
Component | ArchestrA Graphics |  | Ragaei Mahmoud
Hot Fix CR# | L00125032 | Hot Fix Status: | Released-Verified
Summary: | SR 103127094 : Appserver3.1SP2P01 &InTouch10.1SP2P01 :Key 'Del' doesn't work in the webBrowser.
Actual Result: | After creating a webBrowser control and embedding into Intouch window, delete button doesn't work.“WebBrowserShortcutsEnabled” property is “True”.
Expected Result: | Delete button should works properly.

## HFMar41
HotFix Released Detailed
Week: 11, 12 - 2013
ArchestrA Reports
Product | Industrial Application Server 3.6
Component | IDE |  | Oliver Varosanec
Hot Fix CR# | L00125322 | Hot Fix Status: | Released-Verified
Summary: | SR 34211436: Nestle Switzerland: IDE doesn't work in some installations of Win7. Customer cannot create nor open instances using the IDE from a Win7 node in the galaxy. *Request to port hotfix to this release
Actual Result: | Customer has Windows Server 2008 R2 64bit and a Windows 7 Enterprise 32bit Client and is unable to use the IDE on the Client node. The customer had 2 issues on Win7. Platforms weren't being successfully deployed and the IDE didn't work. Platforms are being deployed successfully to Win7 nodes after applying L00122194 however the IDE freezes after instantiating an object or double-clicking to edit an object. We tried all the basic things like users, Network, Language, reinstalling Application Server and nothing works.
Expected Result: | The IDE should work as expected on Win7 nodes in the galaxy where it is installed.

## HFMar42
HotFix Released Detailed
Week: 11, 12 - 2013
ArchestrA Reports
Product | Industrial Application Server 3.0 Patch 03
Component | App Engine |  | Luca Santinello
Hot Fix CR# | L00125267 | Hot Fix Status: | Released-Unverified
Summary: | SR 103127670 - Customer requested porting of HF for CR L00123429 to 3.0 p3 for a pharma plant (Pfizer). Anonymous Engine is not free released "CNmxAdapter :: GetAnonymousEngineID - FAILED" error appears in logger.
Actual Result: | Customer has 30 Intouch terminal clients. If the sessions are closed by windows timeout or by the cross button - an Anonymous Engine is not free released "CNmxAdapter :: GetAnonymousEngineID - FAILED" error appears in logger. Customer say that when it happens he loses the data coming from the application server. Customer tried to install the HF for CR L00119814 also but it doesn't solve the problem.
Expected Result: | The "Anonymous Engine ID" should be managed correctly also if the sessions are closed by windows timeout or by the cross button.

## HFMar43
HotFix Released Detailed
Week: 11, 12 - 2013
ArchestrA Reports
Product | Industrial Application Server 3.6
Component | IDE |  | Oliver Varosanec
Hot Fix CR# | L00125322 | Hot Fix Status: | Released-Unverified
Summary: | SR 34211436: Nestle Switzerland: IDE doesn't work in some installations of Win7. Customer cannot create nor open instances using the IDE from a Win7 node in the galaxy. *Request to port hotfix to this release
Actual Result: | Customer has Windows Server 2008 R2 64bit and a Windows 7 Enterprise 32bit Client and is unable to use the IDE on the Client node. The customer had 2 issues on Win7. Platforms weren't being successfully deployed and the IDE didn't work. Platforms are being deployed successfully to Win7 nodes after applying L00122194 however the IDE freezes after instantiating an object or double-clicking to edit an object. We tried all the basic things like users, Network, Language, reinstalling Application Server and nothing works.
Expected Result: | The IDE should work as expected on Win7 nodes in the galaxy where it is installed.

## HFMar44
HotFix Released Detailed
Week: 11, 12 - 2013
ArchestrA Reports
Product | InTouch 10.5 Patch01
Component | InTouch |  | Ragaei Mahmoud
Hot Fix CR# | L00125021 | Hot Fix Status: | Released-Verified
Summary: | SR 103127556 : DBDump isnt using right List Separator with Windows 2008 Server SP2
Actual Result: | When you perform DB dump on Windows 2008 Server SP2 it uses just comas as list separators not the ones set in regional settings
Expected Result: | DB dump should uset the list separator set in regional settings

## HFMar45
HotFix Released Detailed
Week: 13, 14 - 2013
ArchestrA Reports
Product | InBatch InBatch 9.6
Component | ReportSQL |  | Jim Godfrey
Hot Fix CR# | L00125535 | Hot Fix Status: | Released-Verified
Summary: | (HF) Wonderware UK customer Johnson Matthey Catalytic division has problem with the Batch detail report taking 90% of the SQL server's CPU.
Actual Result: | When running the batch detail report SQL server CPU goes to over 90 and SQL server hangs and the report never gtes created. There are indexing errors in the SMC as well. You the problem in WIS and reporting services.
Expected Result: | Should run fast and not take up the most of the machines CPU. the database is less then 1 gig.

## HFMar46
HotFix Released Detailed
Week: 13, 14 - 2013
ArchestrA Reports
Product | InSQL 10.0 SP1 Patch01
Component | Storage |  | Chris Boutcher
Hot Fix CR# | L00124109 | Hot Fix Status: | Released-Unverified
Summary: | SR10916359 - Historian - 10.0 SP1 : Remote IDAS's stop without S/F when the HistServer encounters internal E_EMERGENCY_SHUTDOWN or E_CRITICAL_SHUTDOWN events
Actual Result: | <<Log #10916359 - Azhar Mian, City of London, ONT Canada>> Customer's Historian Server system performed an unexpected shutdown while committing changes [AppServer deployment] during a history block changeover around 1pm local time (Seq.Nos. 3603384 thru 3603392 of "LogExport4192012-Historian.aaLGX" within attached "Apr 19 2012.zip" file). However, during this emergency shutdown it also stopped the Remote IDAS's even though they were configured for S/F; this is similar to what could happen if someone manually stops HistServer without turning ON the check box for "Do not stop IDAS configured for StoreForward". Customer lost data (without S/F) for about 20min before system was discovered and restarted. During the investigation CR #L00120205, we discovered when E_EMERGENCY_SHUTDOWN or E_CRITICAL_SHUTDOWN events are signaled, the below method is called with a hard-coded value of 0 for the last parameter. StopSystem(_T(""), _T(""), _T(""), 0); Which stops the historian and also stops IDAS configured on the server. This last parameter is used to set the flag m_StopSystemFlags. This flag is used to decide if IDAS is required to be stopped in the method StopIODataAcquisition().
Expected Result: | Prevent Remote IDAS's from stopping by changing the method to use a 1 instead of 0 for its parameter: StopSystem(_T(""), _T(""), _T(""), 1);

## HFMar47
HotFix Released Detailed
Week: 13, 14 - 2013
ArchestrA Reports
Product | Industrial Application Server 3.6
Component | Global Data Distribution |  | Oliver Varosanec
Hot Fix CR# | L00125643 | Hot Fix Status: | Released-Unverified
Summary: | SR: 34211435 - End Customer: Nestle Eau Claire (WI) - aaGlobalDataCacheMonitorSrv stops syncing GlobalData Cache from GRNode
Actual Result: | We see Error Messages in the Logger like: Couldn't get platform name - maybe the platform is not available at this time. IPlatformInformationClerk2::GetPlatformIdentity2(PlatformID=22), hr = 80040405 Checking the GlobalDataCache Files on that AOS Server Show that the Cache Files have not been synced with the GR since over a month. Platforms which have been added to the Galaxy, undeployed or deployed are not listet on this AOS Platform Table in the Registry. Event Logger shot that aaGlobalDataCacheMonitorsvr was crashing at 1/28/2013 11:50AM this is the same timestamp like the last Change of the cachefiles happend based on the file timestamp. The GlobalDatacacheMonitor Service was started but did not sync any data anymore even restarting aaGlobalDataCacheMonitor did not help a reboot or restart of aaBootstrap was required to fix that Problem. However it happend on Multiple Servers and a reboot or restart of aabootstrap is not feasable in a production System. This Issue caused also Platform ID missmatch and ENGINE ID missmatch and was require a redeploy of the whole platform with ist Engines and Automation Objects. I will try to create a crashdump of the GlobalDataCache Crash to see if we can find the Crash root Cause but the Service should be able to handle a reboot or a Crash and recover in a state where it is syncing Cache Data again.
Expected Result: | 1. Investigate why the aaGlobalDataCache does stop syncing when it get crashed or rebooted 2. Create a Hotfix to handle the reconnect to aaGlobalDataCacheMonitor by Bootstrap when aaGlobalDataCacheMonitor gets restartet (after a Crash)

## HFMar48
HotFix Released Detailed
Week: 13, 14 - 2013
ArchestrA Reports
Product | InTouch 10.5 Patch01
Component | AlarmClient (A2) |  | Kevin Nourbakhsh
Hot Fix CR# | L00124758 | Hot Fix Status: | Released-Unverified
Summary: | SR#40214151; Alarm Client Q.fav delete the Pri. after adding a new area.
Actual Result: | SR#40214151; Alarm Client Q.fav delete the Pri. after adding a new area. I tried to use the XML import and export functionality, but that didn't work either. I am able to reproduce the issue in tech support.
Expected Result: | The two field should sync to getter, without deleting the Field

## HFMar49
HotFix Released Detailed
Week: 13, 14 - 2013
ArchestrA Reports
Product | InTouch 7.11 P07 YAM1
Component | View |  | Michael Ang
Hot Fix CR# | L00124192 | Hot Fix Status: | Released-Unverified
Summary: | [Azbil] SR#41810086 - Fix request by Azbil -:- After applying HF2170 (Japanese), A button with while key down scripts continue to execute after the window is close by another scripts
Actual Result: | A button with while key down scripts continue to execute after the window is close by another scripts This does not happens before HF 2170 is applied
Expected Result: | The while key down scripts to stop executing

## HFMar50
HotFix Released Detailed
Week: 13, 14 - 2013
ArchestrA Reports
Product | InBatch InBatch 9.6
Component | ReportSQL |  | Jim Godfrey
Hot Fix CR# | L00125535 | Hot Fix Status: | Released-Unverified
Summary: | (HF) Wonderware UK customer Johnson Matthey Catalytic division has problem with the Batch detail report taking 90% of the SQL server's CPU.
Actual Result: | When running the batch detail report SQL server CPU goes to over 90 and SQL server hangs and the report never gtes created. There are indexing errors in the SMC as well. You the problem in WIS and reporting services.
Expected Result: | Should run fast and not take up the most of the machines CPU. the database is less then 1 gig.

## HFMar51
HotFix Released Detailed
Week: 13, 14 - 2013
ArchestrA Reports
Product | InBatch 9.0
Component | ReportQReader |  | Manohar
Hot Fix CR# | L00125601 | Hot Fix Status: | Released-Unverified
Summary: | (HF) SR46110089 - Batch report could not be generated intermittently due to ReportQReader hung with unknown reason.
Actual Result: | As per my investigation, the service hung 2 to 4 times a week, I can observe the hung information from the system event log. After the issue happened, we have to kill the process from the task manager and then re-start the service to make everything back to OK. I have installed the DebugDiag tool on customer's machine and captured the dump files for your analysis. I have uploaded those dump files and log files to \\dev\Link\CQAttach\L00125518
Expected Result: | ReportQueReader should be running without any error.

## HFMar52
HotFix Released Detailed
Week: 13, 14 - 2013
ArchestrA Reports
Product | Extensibility 3.5 Patch01
Component | OPC Proxy |  | Dan Scott
Hot Fix CR# | L00125123 | Hot Fix Status: | Released-Unverified
Summary: | SR 37112904 - Performance and reconnect issues with OPCClient object. Engine scan overruns. Block read and block write triggers are slow. Disconnect behaviors are mishandled.
Actual Result: | Customer is reporting multiple problems with the OPCClient object. Issue 1: When many OPCClient objects are deployed to an engine, it causes excessive Engine scan overruns, even when the object are idle. I used 10 OPCClient objects, but the customer is trying to use 50+. If I tried 50, my AppEngine process kept terminating. Issue 2: When the OPCClient object loses connection to a remote OPC server and the connection is restored, the old client connection to the OPC server is not cleaned up. This causes the OPC Server to show a higher than actual number of clients and reduces OPC Server performance. Issue 3: When Block Read and/or Block Writes are implemented and the OPCClient object loses connection to a remote OPC server and the connection is restored, wanrings are logged "Incorrect implementation of data host RemoveItems method." Issue 4: When triggering Block Reads or Block Writes via script, the scripts run very slowing. Therefore, triggering a series of bloack reads and/or writes in a script can cause scan overruns. Issue 5: Customer observed random "access is denied" errors which resulted in block read failures, object quaratines, and OPCClient to OPCserver disconnections not due to network comm loss. There are also frequent OPC disconnections that occur for no apparent reason, even with this error message. I was not able to fully replicate this issue in my lab tests, but it may be a side-effect of engine overloading and constant scan over-runs.
Expected Result: | Higher OPCClient performance and better behavior on disconnect.

## HFMar53
HotFix Released Detailed
Week: 13, 14 - 2013
ArchestrA Reports
Product | InSQL 11.0
Component | SDK |  | Prerana Kulkarni
Hot Fix CR# | L00125489 | Hot Fix Status: | Released-Unverified
Summary: | xRef SR 20611293 - calling SendValues and StartQuery methods in my UStoreForward program- does not work all the time
Actual Result: | Problem is reported in calling SendValues and StartQuery methods in my UStoreForward program- does not work all the time. But after debugging I found, the issue to be in OpenConnection or GetConnectionStatus method. The StepByStepSample is used and Step6 project. Step6 project is modified so that it runs in a loop i.e openconnection, AddRevisionValues, closeconnection, these are repeated in a loop. First time the program runs fine, second loop onwards I get following values in OpenConnection method: ConnectionStatus.ConnectedToserver = false ConnectionStatus.ConnectedToserverStorage = false ConnectionStatus.ConnectedToStoreFroward = false ConnectionStatus.Error = null ConnectionStatus.ErrorOccured = false ConnectionStatus.Pending = false If Connection to server is flase then there should be some error returned See attached message for detailed explanation of issue with snapshot
Expected Result: | If Connection to server is flase then there should be some error returned The program Step6, should be able to run in a loop SDK should not set the “connectionStatus.Pending” to false until the connectionStatus has been established

## HFMar54
HotFix Released Detailed
Week: 13, 14 - 2013
ArchestrA Reports
Product | InTouch 10.1 SP3 P01
Component | WindowViewer |  | vladimir veselenyi
Hot Fix CR# | L00125532 | Hot Fix Status: | Released-Unverified
Summary: | SR#103127827 customer wants to port fix from L00123501 to 10.1.301 SR 33913166: If language is English the cursor flickers
Actual Result: | If the language is English in a customers application and you move the mouse around objects, the mouse pointer flickers between mouse pointer and hourglass symbol.
Expected Result: | No flickering.

## HFMar55
HotFix Released Detailed
Week: 13, 14 - 2013
ArchestrA Reports
Product | InTouch 10.5
Component | ArchVis-GraphicObjects |  | vladimir veselenyi
Hot Fix CR# | L00125444 | Hot Fix Status: | Released-Unverified
Summary: | SR#103127833 Customer wants to port fix L00117996 to 10.5 version SR#31611482 Numeric Keypad is going into the backgroup when called from a symbol
Actual Result: | Numeric Keypad is going into the backgroup when called from a symbol. CR #L00117030 fixed the issue for Alpha numeric keypad but not for the numeric keypad
Expected Result: | Keypad should stay in focus

## HFMar56
HotFix Released Detailed
Week: 13, 14 - 2013
ArchestrA Reports
Product | CEM 1.5
Component | CEMMeter |  | Nitin Khadikar
Hot Fix CR# | L00125264 | Hot Fix Status: | Released-Unverified
Summary: | 24515919 The virtual meter has negative values when a meter assigned to it rolls over.
Actual Result: | The virtual meter has negative values when a meter assigned to it rolls over.
Expected Result: | The virtual meter should not have a negative value.

## HFMar57
HotFix Released Detailed
Week: 13, 14 - 2013
ArchestrA Reports
Product | CEM 1.0
Component | Other |  | David Ujifusa
Hot Fix CR# | L00121662 | Hot Fix Status: | Released-Unverified
Summary: | SR 103125539 - CEM doesn't update the meter_value.value_delta field properly in case of write failure
Actual Result: | If the CEM engine service fails to write one or more samples in the meter_value table (in this case due to a disk full issue), after the system restarts, the first good sample has a value_delta that is relative only to the last sample, not the difference between the last good and the forst good record. Log message of engine failure: MyCEMEngineService_001: Could not allocate space for object 'dbo.meter_value'.'PK_meter_value' in database 'EmEnergyBarilla' because the 'PRIMARY' filegroup is full. Create disk space by deleting unneeded files, dropping objects in the filegroup, adding additional files to the filegroup, or setting autogrowth on for existing files in the filegroup. at System.Data.SqlClient.SqlConnection.OnError(SqlException exception, Boolean breakConnection) at System.Data.SqlClient.SqlInternalConnection.OnError(SqlException exception, Boolean breakConnection) at System.Data.SqlClient.TdsParser.ThrowExceptionAndWarning(TdsParserStateObject stateObj) at System.Data.SqlClient.TdsParser.Run(RunBehavior runBehavior, SqlCommand cmdHandler, SqlDataReader dataStream, BulkCopySimpleResultSet bulkCopyHandler, TdsParserStateObject stateObj) export of the meter_value table: The value_delta of the record id63922136 (value_delta=20) does'nt correspond to the difference of the value field (2182920 - 2181480 = 1440) id meter_id value quality status negative_delta rate_of_change raw_delta value_delta cost_delta record_time time 63925152 1236 2182950 192 0 0 0 30 30 3E-10 2012-06-27 12:15:08.187 2012-06-27 12:15:00.533 63922136 1236 2182920 192 0 0 0 20 20 2E-10 2012-06-27 12:00:06.743 2012-06-27 12:00:00.567 63828270 1236 2181480 192 0 0 0 20 20 2E-10 2012-06-26 21:30:04.663 2012-06-26 21:30:00.000 63827614 1236 2181460 192 0 0 0 30 30 3E-10 2012-06-26 21:15:04.770 2012-06-26 21:15:00.000 End User company: The company is Barilla S.p.A. Pedrignano (PR) Italy I had a discussion with Marco Menegon of Wonderware Italy. He has been involved with Barilla from the beginning. Here are some comments he had. - Barilla started with CEM when it was a Beta product. - They were made a lot of promises and it sounds like they may have some custom solutions. That is why they have remained at CEM version 1.0 rather than upgrading to CEM 1.2. - The relationship between the Integrator and the end customer is not good, so it would probably a take a long time to get a backup of the Galaxy and the database. - The request was to have the Developer analyze the information given so far (see email thread below) and come up with a recommendation. This might be a hotfix or a recommendation to upgrade to CEM 1.2.
Expected Result: | N/A

## HFMar58
HotFix Released Detailed
Week: 13, 14 - 2013
ArchestrA Reports
Product | DI Objects Unassigned
Component | Redundant DI Object |  | Fernando Gonzalez
Hot Fix CR# | L00125506 | Hot Fix Status: | Released-Unverified
Summary: | Genentech 14812251:Using RDI object inside a Redundant Engine references goes to BAD bypassing the setting <<Maximum time to maintain good quality after failure>>
Actual Result: | GENENTECH:Using RDI object inside a Redundant Engine references goes to BAD bypassing the setting <<Maximum time to maintain good quality after failure>>
Expected Result: | Fix : this behavior is not consistent with the product documentation and with the Standard functionality without RDI object.

## HFMar59
HotFix Released Detailed
Week: 13, 14 - 2013
ArchestrA Reports
Product | Extensibility 3.5 Patch01
Component | OPC Proxy |  | Mirko Canel
Hot Fix CR# | L00125468 | Hot Fix Status: | Released-Unverified
Summary: | [GENENTECH]Testing matrikon OPC server asynchronous subscription we saw that the OPC DI object upon reconnection is reusing handles while invoking the AddItems.
Actual Result: | Items remain stuck initializing.
Expected Result: | Items do not remain stuck initializing.

## HFMar60
HotFix Released Detailed
Week: 13, 14 - 2013
ArchestrA Reports
Product | InSQL 9.0 Patch 02
Component | Delta Retrieval |  | Antonino Vella
Hot Fix CR# | L00125443 | Hot Fix Status: | Released-Unverified
Summary: | Issue: [Network Rail] When the Retrieval service attempts to retrieve data from a corrupted block, it consumes 100% CPU and requires terminating the process and removing the corrupted block
Actual Result: | Customer at times has corrupted blocks that contains files with 0kb. While this issue is under investigation, the customer has to constantly monitor the retrieval service. If a query is made that that will request data from the corrupted block, the retrieval service will consume 100% CPU and requires manually searching the historyblocks for corruption.
Expected Result: | Would like to find if retrieval service can be modified to handle encountering corrupted blocks. In this context, "handle" might be the simplest of any of the following: 1. Abort the entire query, returning no rows, and logging a message identifying the problematic tag(s) 2. Abort the query for the problematic tag(s), only returning rows for uncorrupted tags, and logging a message identifying the problematic tag(s). 3. Log a message identifying the first problematic tag and then crash the retrieval service, allowing the system to automatically restart it. 4. Attempt to salvage whatever data is easily accessible for the corrupted tag and return it, even if it is incomplete, logging a message that there is missing data for the tag.

## HFMar61
HotFix Released Detailed
Week: 13, 14 - 2013
ArchestrA Reports
Product | Industrial Application Server 3.5 Patch01
Component | xxSecurity |  | vladimir veselenyi
Hot Fix CR# | L00125024 | Hot Fix Status: | Released-Verified
Summary: | SR#103127400 Unable to log into InTouch with Galaxy security End customer is Nuclear Power Plant in Temelin (CF#107704) Customer has restored backup of the galaxy but wants to know what happened, apparently Galaxy data folder disappeared
Actual Result: | Operator was not able to log into InTouch after night shift had logged off. Authentication mode is Galaxy. Platform Manager in SMC showed only name of the Galaxy and did not require any authentication - the same behavior on all computers (OS, AOS, IS). SI was able to log into IDE and connect to Galaxy so SQL server on the GR was working. customers galaxy is uploaded on: http://www.uschovna.cz/zasilka/L45X7JAXDTG4JX88-96Z logs from the system are in attachment and closer description of the issue is in Notes
Expected Result: | N/A