## April-1
HotFix Released Detailed
Week: 14, 15 - 2013
ArchestrA Reports
Product | Tag Creators 1.0 SP2
Component | Siemens S7 Tag Creator |  | Uwe Schoss
Hot Fix CR# | L00125579 | Hot Fix Status: | Released-Unverified
Summary: | SR 45510210 and X ref 14433442 DAS S7 TagCreator update function does not work if a prefix or suffix is used for the Tagname
Actual Result: | DAS S7 TagCreator update function does not work if a Prefix or Suffix for the tagname is used. If you add in Step7 in a DB some new tags, all tags behind get a new item address. I think the problem is you could not configure the prefix or suffix as default.
Expected Result: | That the update function works if you use a prefix or suffix for the Tagname.

## April-2
HotFix Released Detailed
Week: 14, 15 - 2013
ArchestrA Reports
Product | AAWebGraphics 4.0 SP1
Component | aaWCF Service |  | Peter Von tluck
Hot Fix CR# | L00125609 | Hot Fix Status: | Released-Unverified
Summary: | SR45110038: Porsche Paintshop: Archestra.Visualzation.WCFService exception if "Linienübersicht" is opened in IE. CRef: L00118924 and L00118926
Actual Result: | Porsche paintshop has installed the HF 118924 and 118926. The application was running since almost 6 weeks. Since they republished some archestra graphics they are running into problems. Attached please find the logger and trace of the system DEZULCAMAP28.
Expected Result: | I found that the crash is in Archestra.Visualization.WCFService PublisherOperator class -> Changeme: catch (Exception exception4) { Logger.LogTrace("LMX WCF Service: Trace error message while ChangeMe process added and removed items: [" + exception4.Message + "] at [" + exception4.StackTrace + "]"); } finally { Monitor.Exit(this.m_ChangeMeItemClientDic); } try { if (((this.m_LmxPublisher != null) && (CommunicationState.Faulted != (this.m_LmxPublisher as IDuplexContextChannel).State)) && ((CommunicationState.Closing != (this.m_LmxPublisher as IDuplexContextChannel).State) && (CommunicationState.Closed != (this.m_LmxPublisher as IDuplexContextChannel).State))) { if (isRemoveSvc) { if (flag && (((newAdviseItems != null) && (0 < newAdviseItems.Length)) ¦¦ ((removeItems != null) && (0 < removeItems.Length)))) { this.m_LmxPublisher.ChangeMe(clientInfos, wcfInfos, newAdviseItems, removeItems); } } else if (((newAdviseItems != null) && (0 < newAdviseItems.Length)) ¦¦ ((removeItems != null) && (0 < removeItems.Length))) { this.m_LmxPublisher.ChangeMe(clientInfos, wcfInfos, newAdviseItems, removeItems); } } } catch (Exception exception5) { Logger.LogError("Exception while changing context to LMX: [" + exception5.Message + "] at [" + exception5.StackTrace + "]."); } }

## April-3
HotFix Released Detailed
Week: 14, 15 - 2013
ArchestrA Reports
Product | WW MES 4.5
Component | .NET Controls |  | Antonio Valieri
Hot Fix CR# | L00125712 | Hot Fix Status: | Released-Unverified
Summary: | [XREF SR31310054 - Wonderware Advanced Applications Team] 'Set Paused State' shown up when opening an ArchestrA symbol via ShowSymbol with MES progressbar in the calling window.
Actual Result: | If a MES Progress bar .Net control is present in an InTouch window and is called a .Net Utilization control in an ArchestrA graphics via ShowWindow, sometimes a 'Set paused state' popup is shown up even if not invoked at all.
Expected Result: | The system has not to display 'Set paused state' popup window as is not invoked.

## April-4
HotFix Released Detailed
Week: 14, 15 - 2013
ArchestrA Reports
Product | InSQL 10.0 SP1 Patch01
Component | MDAS |  | Javier Aldan
Hot Fix CR# | L00125804 | Hot Fix Status: | Released-Unverified
Summary: | [Genentech] SR 44210353 - Handle leak in application engine unable to initialize storeforward.
Actual Result: | Periodically a couple of application engines are logging the following mesages in log viewer Trace aaEngine aahMDAS Starting to initialize storeforward [StorageNode.cpp,886] Trace aaEngine aahMDAS Storeforward tags added: initializing engine [StorageNode.cpp,941] Info aaEngine aahMDAS 0:318F6C StoreForward engine entering wait mode [aahMDASSF.cpp; 1702; 1] Warning aaEngine aahMDAS Could not initialize primary SF engine [StorageNode.cpp,970] Info aaEngine aahMDAS Node ccp1dhis01: Unable to initialize storeforward. [StorageNode.cpp,8157] Other engines in the same AOS do not log these messages. The problematic engines have <EngineName>.Engine.Historian.StoreForwardSpaceAvaialbe = 0 even when the disk has plenty of free space, the <EngineName>.Engine.Historian.StoreForwardDataLoss, <EngineName>.Engine.Historian.StoreForwardProblem attributes are false. The engines are not in Store&Forward mode and current history values are getting logged.
Expected Result: | Application Engines should not have a handle leak.

## April-5
HotFix Released Detailed
Week: 14, 15 - 2013
ArchestrA Reports
Product | InTouch 10.5 Patch01
Component | TrendClient (A2) |  | Luca Santinello
Hot Fix CR# | L00125122 | Hot Fix Status: | Released-Unverified
Summary: | SR 43910676 - Archestra Trend Client performance issue. Trend Client is slow to retrieve Historical Data from the .lgh file. If the same operation is done by HistTrend Wizard control, the Historical Data is retrieved faster.
Actual Result: | Customer (Danieli Automation the most important customer for WW Italy) is using the Trend Client to retrieve Historical Data from the .lgh file. He has noticed that the trend obj performance degrade if the time window is enlarged (customer needs to display many hour or days) and if you increase the displayed tags number. Customer built an object in order to substitute the old Intouch "Trend Wizard", so he implemented similar functionalities, like time shift and window trend time duration enlarge commands. He tested the new functionality and noticed that a trend refresh, after a command, is executed in 5-10 seconds with 24 hour of data displayed and 4 pens. If the same operations have been done with HistTrend Wizard control, the Historical Data is retrieved and refreshed faster. He noticed also that the View.exe memory usage is dramatically different if the same data are displayed with the old object an the new one (Trend client requires hundred of MB for 1 day and 4 pen).
Expected Result: | Customer is bewildered by the test results and is requiring us if it is possible to find a solution to the described performance problems in order to have a Trend Client that works with the same refresh times like the Old Trend wizard object.

## April-6
HotFix Released Detailed
Week: 14, 15 - 2013
ArchestrA Reports
Product | InTouch 10.1 SP3 P01
Component | ArchVis-ClientControl |  | Kevin Nourbakhsh
Hot Fix CR# | L00125694 | Hot Fix Status: | Released-Verified
Summary: | SR19818017- Trend from lgh file extend to the right from the last point that the data changed, but to the left it remains blank.
Actual Result: | SR19818017- Trend from lgh file extend to the right from the last point that the data changed, but to the left it remains blank. The improvements to performance exceeded my expectations. There are no issues with this any longer, no matter how much data I pulled up on the trend. This problem is solved. • I have found one small issue with the hotfix. Please see the attached screenshot (TrendHotfixScreenShot.bmp): If you look at the blue and red pens at the bottom of the trend, you can see that if the value is static it does not extend to the left. It will extend to the right from the last point that the data changed, but to the left it remains blank. • I would like to get suggested starting values, as well as Min and Max values, for the new registry entries for "OperationTimeout" and "ChartQualityFactor".
Expected Result: | Expect to not have CPU usage of View.exe increase when using LGH files in Trend Client Control.

## April-7
HotFix Released Detailed
Week: 14, 15 - 2013
ArchestrA Reports
Product | InBatch InBatch 9.6
Component | IBMX |  | Srinivas Mariyala
Hot Fix CR# | L00125678 | Hot Fix Status: | Released-Unverified
Summary: | (HF) SR 15712647 - IBMX throwing messages related to "Timeout on START UPDATE tag request (waiting for good quality) [UDTP1I1.DOSIMAN.KGS.MATID] - returning bad quality. Current quality [0x40]. This behavior is noticed only for string tags.
Actual Result: | SR 15712647 - IBMX throwing messages related to "Timeout on START UPDATE tag request (waiting for good quality) [UDTP1I1.DOSIMAN.KGS.MATID] - returning bad quality. Current quality [0x40]. This behavior is noticed only for string tags. InBatch Tags are linked to AppObject Attributes and the customer is using IBMX to communicate between InBatch and AppServer. The quality of the app object attributes is good in ObjectViewer, however the log messages show a quality of 40. This issue needs to be investigated. I have setup the customer application at some point in time and we did not see the behavior customer reporting. However, I am testing only a single phase using customer Config_a and their galaxy. Attached shows the log files with tracing turned on for IBMX, customer using "Advise All" and also we have dump files for BatchMngr and also IBMX. If customer uses suitelink and link the same tags to IBCli there are no issues. Customer using InBatch 2012 (9.6) with System Platform 2012. I am using InBatch Beta (2012 R2) and System Platform 2012 R2. I like you guys to atleast look at the dump files and see why InBatch shows a a quality of 40. Unfortunately, customer doesn't have internet access and cannot remote to their machines. I have their config_a and confirmed that string tags are directly pointing to appobject attributes and they are not linked to PLC. If developer wants to see the config_a and galaxy, I will provide the access to my test system here in the lab.
Expected Result: | See actual results

## April-8
HotFix Released Detailed
Week: 14, 15 - 2013
ArchestrA Reports
Product | InTouch 10.5 Patch01
Component | Tag Browser |  | Nitin Khadikar
Hot Fix CR# | L00125458 | Hot Fix Status: | Released-Unverified
Summary: | SR 24515914 Tag Browser : Attempted an unsupported operation.
Actual Result: | Tag Browser : Attempted an unsupported operation. Tag Browser accessed from the trend to select pens isn't modal and allows the user to click else where. If an alarm window pops up at the same time as Tag Browser is open, and a pen selection is attempeted, this error is generated.
Expected Result: | Tag Browser should remain modal and the error should not occur.

## April-9
HotFix Released Detailed
Week: 14, 15 - 2013
ArchestrA Reports
Product | Industrial Application Server 3.6 MB01
Component | Galaxy Manager |  | Ravi Kandula
Hot Fix CR# | L00123613 | Hot Fix Status: | Released-Unverified
Summary: | FCS security/History database refresh mechanism accesses several Galaxy database tables during the operation. During refresh, clients should not access galaxy for any edits/updates. A lock to the Galaxy can ensure this exclusive access.
Actual Result: | There is no lock Galaxy feature that can prevent Clients from connecting to Galaxy.
Expected Result: | Action Item: 1) Implement Lock() on IGalaxyConfiguration object that gives an exclusive access to Galaxy and locks Galaxy. While giving the lock, it should give a list of FCS/Archestra templates/objects that are checked currently out by any user. 2) Implement Unlock() to free the lock and make Galaxy accessible. The implementation should address the case where the client dies while holding the lock so that galaxy will not get locked indefinitely.

## April-10
HotFix Released Detailed
Week: 14, 15 - 2013
ArchestrA Reports
Product | InSQL 11.0
Component | N/A |  | Ivan Bui
Hot Fix CR# | L00125325 | Hot Fix Status: | Released-Unverified
Summary: | SR 31712364 -:- When you query the LIVE table an error message is being return for tag is not in the table, this worked in 10. This is causing major issues with customer custom reports.
Actual Result: | Where customer queries the Live table with a tag that is not in the list it returns the following error: Msg 7320, Level 16, State 2, Line 1 Cannot execute the query "SELECT Tbl1001.DateTime Col1005,Tbl1001.TagName Col1006,Tbl1001.Value Col1007,Tbl1001.vValue Col1008,Tbl1001.Quality Col1009,Tbl1001.QualityDetail Col1010,Tbl1001.OPCQuality Col1011,Tbl1001.wwTagKey Col1012,Tbl1001.wwRetrievalMode Col1013,Tbl1001.wwTimeDeadband Col1014,Tbl1001.wwValueDeadband Col1015,Tbl1001.wwTimeZone Col1016,Tbl1001.wwParameters Col1017,Tbl1001.SourceTag Col1018,Tbl1001.SourceServer Col1019,Tbl1001.wwValueSelector Col1004 FROM Runtime.dbo.Live Tbl1001 WHERE Tbl1001.TagName=N'xxx'" against OLE DB provider "INSQL" for linked server "INSQL".
Expected Result: | Expected it to return: (0 row(s) affected)

## April-11
HotFix Released Detailed
Week: 14, 15 - 2013
ArchestrA Reports
Product | Industrial Application Server 3.1 SP2
Component | App Engine |  | Antonino Vella
Hot Fix CR# | L00125685 | Hot Fix Status: | Released-Unverified
Summary: | SRs 33411214,33411224,33411250 -Request to port Hotfix CR L00123429 (see notes). If the TSE sessions are closed by windows timeout or by the cross button - an Anonymous Engine is not free released "CNmxAdapter :: GetAnonymousEngineID - FAILED" error.
Actual Result: | Customer has 30 Intouch terminal clients. If the sessions are closed by windows timeout or by the cross button - an Anonymous Engine is not free released "CNmxAdapter :: GetAnonymousEngineID - FAILED" error appears in logger. Customer say that when it happens he loses the data coming from the application server. Customer tried to install the HF for CR L00119814 also but it doesn't solve the problem.
Expected Result: | The "Anonymous Engine ID" should be managed correctly also if the sessions are closed by windows timeout or by the cross button.

## April-12
HotFix Released Detailed
Week: 14, 15 - 2013
ArchestrA Reports
Product | InBatch InBatch 9.5 SP1
Component | UnilinkMngr |  | Jim Godfrey
Hot Fix CR# | L00125711 | Hot Fix Status: | Released-Unverified
Summary: | SR 103126651 Wonderware Benelux customer Friesland Foods upgraded from IB 8.1 SP1 to IB 9.5 SP1 and now UnilinkMngr shuts down randomly.
Actual Result: | We can't replicate the problem and it only happend once every few weeks. Speaking with Eric it appears UnilinkMngr is getting a meesage from a client that it can't read and UnilinkMngr just shutsdown. I have ADPLUS installed but not core files are created sicne it is not cashing but shutting down. Unexpected error [UnilinkMngr.c 367 (error: 2)]
Expected Result: | N/A

## April-13
HotFix Released Detailed
Week: 14, 15 - 2013
ArchestrA Reports
Product | InTouch 10.1 SP3 P01
Component | ArchVis-ClientControl |  | Kevin Nourbakhsh
Hot Fix CR# | L00125694 | Hot Fix Status: | Released-Unverified
Summary: | SR19818017- Trend from lgh file extend to the right from the last point that the data changed, but to the left it remains blank.
Actual Result: | SR19818017- Trend from lgh file extend to the right from the last point that the data changed, but to the left it remains blank. The improvements to performance exceeded my expectations. There are no issues with this any longer, no matter how much data I pulled up on the trend. This problem is solved. • I have found one small issue with the hotfix. Please see the attached screenshot (TrendHotfixScreenShot.bmp): If you look at the blue and red pens at the bottom of the trend, you can see that if the value is static it does not extend to the left. It will extend to the right from the last point that the data changed, but to the left it remains blank. • I would like to get suggested starting values, as well as Min and Max values, for the new registry entries for "OperationTimeout" and "ChartQualityFactor".
Expected Result: | Expect to not have CPU usage of View.exe increase when using LGH files in Trend Client Control.

## April-14
HotFix Released Detailed
Week: 14, 15 - 2013
ArchestrA Reports
Product | Industrial Application Server 3.1 SP2
Component | App Engine |  | Antonino Vella
Hot Fix CR# | L00125685 | Hot Fix Status: | Released-Unverified
Summary: | SRs 33411214,33411224,33411250 -Request to port Hotfix CR L00123429 (see notes). If the TSE sessions are closed by windows timeout or by the cross button - an Anonymous Engine is not free released "CNmxAdapter :: GetAnonymousEngineID - FAILED" error.
Actual Result: | Customer has 30 Intouch terminal clients. If the sessions are closed by windows timeout or by the cross button - an Anonymous Engine is not free released "CNmxAdapter :: GetAnonymousEngineID - FAILED" error appears in logger. Customer say that when it happens he loses the data coming from the application server. Customer tried to install the HF for CR L00119814 also but it doesn't solve the problem.
Expected Result: | The "Anonymous Engine ID" should be managed correctly also if the sessions are closed by windows timeout or by the cross button.

## April-15
HotFix Released Detailed
Week: 14, 15 - 2013
ArchestrA Reports
Product | WW MES 3.5
Component | Database Scripts |  | Oliver Varosanec
Hot Fix CR# | L00125451 | Hot Fix Status: | Released-Unverified
Summary: | SR:45110209, End User: Nestle Biessenhofen, Germany, BOM specific specs does not get assigned when creating a new PO
Actual Result: | We experienced an issue at one of our Nestle sites where BOM Specs was not able to load when a new PO have been created. when running a CREATE WORK ORDER FROM PROCESS on a specific Process, we get the WO and the JOBS created normally, the JOB_BOM created normally, but as JOB_SPECS the ones coming from the "oper_ent_spec" table the Specs from "bom_item_oper_spec" table, though BOM_Version and Spec_Version are not appended. Analyzing the Issue Show that the Stored Procedure sp_Build_bom_stack is failing because of an inconsistency between item_process_link and BOM_item_oper_link table. Items where defined in the BOM_item_oper_link that where not defined in the item_process_link Further Analysis Show that the root cause of the Issue is in the item_process_link_aft_del Trigger of the Table item_process_Link where the Material does not get removed when it consumes a multilevel BOM. When adding a process P1 to a material m1 that is used in the BOM of another material M2 beeing already assiciated to the same process P1, and then P1 remove the assiciation with M1 then the BOM_ITEM_OPER_LINK conserves the record for material M1 with BOM POS=0 while it should remove it. We are aware that it does not make sense to assign the process to both produce and consume items of the same BOM however the Supervisor does allow to do it and once the customer does it by mistake it causes this inconsistancy and might cause production shutdown Events like it happend at Nesle
Expected Result: | Customer Expectations: (Reference Attached Email) 1. When we add and remove the association to the Process of Item002 the Item002 remains assigned as a BOM to the Process. 2. Customer expects that when he add and remove the association to the Process that ‘no change’ is done however he need then go to the Process manually and pick the right BOM Version. (which is BOM Version of Item001. 3. The expected Result should be when I add and remove the Process to Item002 that the Material produced in this Operation should be again set on Item001. BOM specs should get added to every new created Process Issue can be adressed by following two options: 1. It should not be allowed to assign a Process to items of produce and comsume item of the same BOM. 2. modify the item_process_link_aft_del Trigger to remove the item from the BOM_ITEM_OPER_LINK once it get deleted from the ITEM_PROCESS_OPER_LINK

## April-16
HotFix Released Detailed
Week: 14, 15 - 2013
ArchestrA Reports
Product | InTouch 10.1 SP2
Component | View |  | Kevin Nourbakhsh
Hot Fix CR# | L00124834 | Hot Fix Status: | Released-Unverified
Summary: | SR#19817898; InTouch become unresponsive, when SuiteLink service stop on other machine stops. InTouch TSE
Actual Result: | SR#19817898; InTouch become unresponsive, when SuiteLink service stop on other machine stops. InTouch TSE. Customer Has It 10.1 sp2 in 2k3 sp2 (not R2) and terminal server. I tested it in 10.1 sp3 and 2k3 R2 Sp2 (TSE) and The problem is intermitant. Some times it works for a while, and sometime it hangs right away. The problem shows more in the sessions (Nad) client.
Expected Result: | stop of suitlink shouldn't hange the system.

## April-17
HotFix Released Detailed
Week: 14, 15 - 2013
ArchestrA Reports
Product | InSQL 10.0 SP1
Component | Storage |  | Mike Calderone
Hot Fix CR# | L00125338 | Hot Fix Status: | Released-Unverified
Summary: | [SR: 41310048, 103126514] - SGAB (Aguas de Barcelona) - history block zero duration
Actual Result: | In production enviroment with an average of once at week the history block with zero duration wil be created cause a series of mulfunction on the system.
Expected Result: | no history block with zero duration should be created

## April-18
HotFix Released Detailed
Week: 14, 15 - 2013
ArchestrA Reports
Product | InTouch 10.5 Patch01
Component | Security |  | Kevin Nourbakhsh
Hot Fix CR# | L00125528 | Hot Fix Status: | Released-Unverified
Summary: | SR 19818007 Need to port the fix from CR#L00120820 to 10.5 patch 01
Actual Result: | Need to port the fix from CR#L00120820 to 10.5 patch 01
Expected Result: | Should Disable the Key all the time.

## April-19
HotFix Released Detailed
Week: 14, 15 - 2013
ArchestrA Reports
Product | InTouch 10.5
Component | ArchestrA Graphics |  | Ragaei Mahmoud
Hot Fix CR# | L00125245 | Hot Fix Status: | Released-Verified
Summary: | SR 103127566-:-Application Server 3.5;ArchestrA Graphic Symbol : Problems when resizing an Archestra Symbol with blink animation and gradient fill color
Actual Result: | The customer has notified us about a problem that occurs when He creates an Archestra Symbol with Blink animation and He sets a gradient color in the Fill Color field of Blink Attributes. If He shows this Symbol from another one with Show Symbol animation, When He resizes the popup window or He sets the scale different from 100%, the gradient color doesn't resize properly. If He makes the graphic smaller, it's shown only a part of the gradient. If the graphic is bigger, the gradient starts again at the end of it.
Expected Result: | The gradient should appear normally even if the symbol resized.

## April-20
HotFix Released Detailed
Week: 14, 15 - 2013
ArchestrA Reports
Product | Industrial Application Server 3.0 Patch 03
Component | App Engine |  | Luca Santinello
Hot Fix CR# | L00125267 | Hot Fix Status: | Released-Verified
Summary: | SR 103127670 - Customer requested porting of HF for CR L00123429 to 3.0 p3 for a pharma plant (Pfizer). Anonymous Engine is not free released "CNmxAdapter :: GetAnonymousEngineID - FAILED" error appears in logger.
Actual Result: | Customer has 30 Intouch terminal clients. If the sessions are closed by windows timeout or by the cross button - an Anonymous Engine is not free released "CNmxAdapter :: GetAnonymousEngineID - FAILED" error appears in logger. Customer say that when it happens he loses the data coming from the application server. Customer tried to install the HF for CR L00119814 also but it doesn't solve the problem.
Expected Result: | The "Anonymous Engine ID" should be managed correctly also if the sessions are closed by windows timeout or by the cross button.

## April-21
HotFix Released Detailed
Week: 14, 15 - 2013
ArchestrA Reports
Product | InBatch InBatch 9.6
Component | ReportSQL |  | Jim Godfrey
Hot Fix CR# | L00125535 | Hot Fix Status: | Released-Verified
Summary: | (HF) Wonderware UK customer Johnson Matthey Catalytic division has problem with the Batch detail report taking 90% of the SQL server's CPU.
Actual Result: | When running the batch detail report SQL server CPU goes to over 90 and SQL server hangs and the report never gtes created. There are indexing errors in the SMC as well. You the problem in WIS and reporting services.
Expected Result: | Should run fast and not take up the most of the machines CPU. the database is less then 1 gig.

## April-22
HotFix Released Detailed
Week: 13, 14 - 2013
ArchestrA Reports
Product | InBatch InBatch 9.6
Component | ReportSQL |  | Jim Godfrey
Hot Fix CR# | L00125535 | Hot Fix Status: | Released-Verified
Summary: | (HF) Wonderware UK customer Johnson Matthey Catalytic division has problem with the Batch detail report taking 90% of the SQL server's CPU.
Actual Result: | When running the batch detail report SQL server CPU goes to over 90 and SQL server hangs and the report never gtes created. There are indexing errors in the SMC as well. You the problem in WIS and reporting services.
Expected Result: | Should run fast and not take up the most of the machines CPU. the database is less then 1 gig.

## April-23
HotFix Released Detailed
Week: 13, 14 - 2013
ArchestrA Reports
Product | InSQL 10.0 SP1 Patch01
Component | Storage |  | Chris Boutcher
Hot Fix CR# | L00124109 | Hot Fix Status: | Released-Unverified
Summary: | SR10916359 - Historian - 10.0 SP1 : Remote IDAS's stop without S/F when the HistServer encounters internal E_EMERGENCY_SHUTDOWN or E_CRITICAL_SHUTDOWN events
Actual Result: | <<Log #10916359 - Azhar Mian, City of London, ONT Canada>> Customer's Historian Server system performed an unexpected shutdown while committing changes [AppServer deployment] during a history block changeover around 1pm local time (Seq.Nos. 3603384 thru 3603392 of "LogExport4192012-Historian.aaLGX" within attached "Apr 19 2012.zip" file). However, during this emergency shutdown it also stopped the Remote IDAS's even though they were configured for S/F; this is similar to what could happen if someone manually stops HistServer without turning ON the check box for "Do not stop IDAS configured for StoreForward". Customer lost data (without S/F) for about 20min before system was discovered and restarted. During the investigation CR #L00120205, we discovered when E_EMERGENCY_SHUTDOWN or E_CRITICAL_SHUTDOWN events are signaled, the below method is called with a hard-coded value of 0 for the last parameter. StopSystem(_T(""), _T(""), _T(""), 0); Which stops the historian and also stops IDAS configured on the server. This last parameter is used to set the flag m_StopSystemFlags. This flag is used to decide if IDAS is required to be stopped in the method StopIODataAcquisition().
Expected Result: | Prevent Remote IDAS's from stopping by changing the method to use a 1 instead of 0 for its parameter: StopSystem(_T(""), _T(""), _T(""), 1);

## April-24
HotFix Released Detailed
Week: 13, 14 - 2013
ArchestrA Reports
Product | Industrial Application Server 3.6
Component | Global Data Distribution |  | Oliver Varosanec
Hot Fix CR# | L00125643 | Hot Fix Status: | Released-Unverified
Summary: | SR: 34211435 - End Customer: Nestle Eau Claire (WI) - aaGlobalDataCacheMonitorSrv stops syncing GlobalData Cache from GRNode
Actual Result: | We see Error Messages in the Logger like: Couldn't get platform name - maybe the platform is not available at this time. IPlatformInformationClerk2::GetPlatformIdentity2(PlatformID=22), hr = 80040405 Checking the GlobalDataCache Files on that AOS Server Show that the Cache Files have not been synced with the GR since over a month. Platforms which have been added to the Galaxy, undeployed or deployed are not listet on this AOS Platform Table in the Registry. Event Logger shot that aaGlobalDataCacheMonitorsvr was crashing at 1/28/2013 11:50AM this is the same timestamp like the last Change of the cachefiles happend based on the file timestamp. The GlobalDatacacheMonitor Service was started but did not sync any data anymore even restarting aaGlobalDataCacheMonitor did not help a reboot or restart of aaBootstrap was required to fix that Problem. However it happend on Multiple Servers and a reboot or restart of aabootstrap is not feasable in a production System. This Issue caused also Platform ID missmatch and ENGINE ID missmatch and was require a redeploy of the whole platform with ist Engines and Automation Objects. I will try to create a crashdump of the GlobalDataCache Crash to see if we can find the Crash root Cause but the Service should be able to handle a reboot or a Crash and recover in a state where it is syncing Cache Data again.
Expected Result: | 1. Investigate why the aaGlobalDataCache does stop syncing when it get crashed or rebooted 2. Create a Hotfix to handle the reconnect to aaGlobalDataCacheMonitor by Bootstrap when aaGlobalDataCacheMonitor gets restartet (after a Crash)

## April-25
HotFix Released Detailed
Week: 13, 14 - 2013
ArchestrA Reports
Product | InTouch 10.5 Patch01
Component | AlarmClient (A2) |  | Kevin Nourbakhsh
Hot Fix CR# | L00124758 | Hot Fix Status: | Released-Unverified
Summary: | SR#40214151; Alarm Client Q.fav delete the Pri. after adding a new area.
Actual Result: | SR#40214151; Alarm Client Q.fav delete the Pri. after adding a new area. I tried to use the XML import and export functionality, but that didn't work either. I am able to reproduce the issue in tech support.
Expected Result: | The two field should sync to getter, without deleting the Field

## April-26
HotFix Released Detailed
Week: 13, 14 - 2013
ArchestrA Reports
Product | InTouch 7.11 P07 YAM1
Component | View |  | Michael Ang
Hot Fix CR# | L00124192 | Hot Fix Status: | Released-Unverified
Summary: | [Azbil] SR#41810086 - Fix request by Azbil -:- After applying HF2170 (Japanese), A button with while key down scripts continue to execute after the window is close by another scripts
Actual Result: | A button with while key down scripts continue to execute after the window is close by another scripts This does not happens before HF 2170 is applied
Expected Result: | The while key down scripts to stop executing

## April-27
HotFix Released Detailed
Week: 13, 14 - 2013
ArchestrA Reports
Product | InBatch InBatch 9.6
Component | ReportSQL |  | Jim Godfrey
Hot Fix CR# | L00125535 | Hot Fix Status: | Released-Unverified
Summary: | (HF) Wonderware UK customer Johnson Matthey Catalytic division has problem with the Batch detail report taking 90% of the SQL server's CPU.
Actual Result: | When running the batch detail report SQL server CPU goes to over 90 and SQL server hangs and the report never gtes created. There are indexing errors in the SMC as well. You the problem in WIS and reporting services.
Expected Result: | Should run fast and not take up the most of the machines CPU. the database is less then 1 gig.

## April-28
HotFix Released Detailed
Week: 13, 14 - 2013
ArchestrA Reports
Product | InBatch 9.0
Component | ReportQReader |  | Manohar
Hot Fix CR# | L00125601 | Hot Fix Status: | Released-Unverified
Summary: | (HF) SR46110089 - Batch report could not be generated intermittently due to ReportQReader hung with unknown reason.
Actual Result: | As per my investigation, the service hung 2 to 4 times a week, I can observe the hung information from the system event log. After the issue happened, we have to kill the process from the task manager and then re-start the service to make everything back to OK. I have installed the DebugDiag tool on customer's machine and captured the dump files for your analysis. I have uploaded those dump files and log files to \\dev\Link\CQAttach\L00125518
Expected Result: | ReportQueReader should be running without any error.

## April-29
HotFix Released Detailed
Week: 13, 14 - 2013
ArchestrA Reports
Product | Extensibility 3.5 Patch01
Component | OPC Proxy |  | Dan Scott
Hot Fix CR# | L00125123 | Hot Fix Status: | Released-Unverified
Summary: | SR 37112904 - Performance and reconnect issues with OPCClient object. Engine scan overruns. Block read and block write triggers are slow. Disconnect behaviors are mishandled.
Actual Result: | Customer is reporting multiple problems with the OPCClient object. Issue 1: When many OPCClient objects are deployed to an engine, it causes excessive Engine scan overruns, even when the object are idle. I used 10 OPCClient objects, but the customer is trying to use 50+. If I tried 50, my AppEngine process kept terminating. Issue 2: When the OPCClient object loses connection to a remote OPC server and the connection is restored, the old client connection to the OPC server is not cleaned up. This causes the OPC Server to show a higher than actual number of clients and reduces OPC Server performance. Issue 3: When Block Read and/or Block Writes are implemented and the OPCClient object loses connection to a remote OPC server and the connection is restored, wanrings are logged "Incorrect implementation of data host RemoveItems method." Issue 4: When triggering Block Reads or Block Writes via script, the scripts run very slowing. Therefore, triggering a series of bloack reads and/or writes in a script can cause scan overruns. Issue 5: Customer observed random "access is denied" errors which resulted in block read failures, object quaratines, and OPCClient to OPCserver disconnections not due to network comm loss. There are also frequent OPC disconnections that occur for no apparent reason, even with this error message. I was not able to fully replicate this issue in my lab tests, but it may be a side-effect of engine overloading and constant scan over-runs.
Expected Result: | Higher OPCClient performance and better behavior on disconnect.

## April-30
HotFix Released Detailed
Week: 13, 14 - 2013
ArchestrA Reports
Product | InSQL 11.0
Component | SDK |  | Prerana Kulkarni
Hot Fix CR# | L00125489 | Hot Fix Status: | Released-Unverified
Summary: | xRef SR 20611293 - calling SendValues and StartQuery methods in my UStoreForward program- does not work all the time
Actual Result: | Problem is reported in calling SendValues and StartQuery methods in my UStoreForward program- does not work all the time. But after debugging I found, the issue to be in OpenConnection or GetConnectionStatus method. The StepByStepSample is used and Step6 project. Step6 project is modified so that it runs in a loop i.e openconnection, AddRevisionValues, closeconnection, these are repeated in a loop. First time the program runs fine, second loop onwards I get following values in OpenConnection method: ConnectionStatus.ConnectedToserver = false ConnectionStatus.ConnectedToserverStorage = false ConnectionStatus.ConnectedToStoreFroward = false ConnectionStatus.Error = null ConnectionStatus.ErrorOccured = false ConnectionStatus.Pending = false If Connection to server is flase then there should be some error returned See attached message for detailed explanation of issue with snapshot
Expected Result: | If Connection to server is flase then there should be some error returned The program Step6, should be able to run in a loop SDK should not set the “connectionStatus.Pending” to false until the connectionStatus has been established

## April-31
HotFix Released Detailed
Week: 13, 14 - 2013
ArchestrA Reports
Product | InTouch 10.1 SP3 P01
Component | WindowViewer |  | vladimir veselenyi
Hot Fix CR# | L00125532 | Hot Fix Status: | Released-Unverified
Summary: | SR#103127827 customer wants to port fix from L00123501 to 10.1.301 SR 33913166: If language is English the cursor flickers
Actual Result: | If the language is English in a customers application and you move the mouse around objects, the mouse pointer flickers between mouse pointer and hourglass symbol.
Expected Result: | No flickering.

## April-32
HotFix Released Detailed
Week: 13, 14 - 2013
ArchestrA Reports
Product | InTouch 10.5
Component | ArchVis-GraphicObjects |  | vladimir veselenyi
Hot Fix CR# | L00125444 | Hot Fix Status: | Released-Unverified
Summary: | SR#103127833 Customer wants to port fix L00117996 to 10.5 version SR#31611482 Numeric Keypad is going into the backgroup when called from a symbol
Actual Result: | Numeric Keypad is going into the backgroup when called from a symbol. CR #L00117030 fixed the issue for Alpha numeric keypad but not for the numeric keypad
Expected Result: | Keypad should stay in focus

## April-33
HotFix Released Detailed
Week: 13, 14 - 2013
ArchestrA Reports
Product | CEM 1.5
Component | CEMMeter |  | Nitin Khadikar
Hot Fix CR# | L00125264 | Hot Fix Status: | Released-Unverified
Summary: | 24515919 The virtual meter has negative values when a meter assigned to it rolls over.
Actual Result: | The virtual meter has negative values when a meter assigned to it rolls over.
Expected Result: | The virtual meter should not have a negative value.

## April-34
HotFix Released Detailed
Week: 13, 14 - 2013
ArchestrA Reports
Product | CEM 1.0
Component | Other |  | David Ujifusa
Hot Fix CR# | L00121662 | Hot Fix Status: | Released-Unverified
Summary: | SR 103125539 - CEM doesn't update the meter_value.value_delta field properly in case of write failure
Actual Result: | If the CEM engine service fails to write one or more samples in the meter_value table (in this case due to a disk full issue), after the system restarts, the first good sample has a value_delta that is relative only to the last sample, not the difference between the last good and the forst good record. Log message of engine failure: MyCEMEngineService_001: Could not allocate space for object 'dbo.meter_value'.'PK_meter_value' in database 'EmEnergyBarilla' because the 'PRIMARY' filegroup is full. Create disk space by deleting unneeded files, dropping objects in the filegroup, adding additional files to the filegroup, or setting autogrowth on for existing files in the filegroup. at System.Data.SqlClient.SqlConnection.OnError(SqlException exception, Boolean breakConnection) at System.Data.SqlClient.SqlInternalConnection.OnError(SqlException exception, Boolean breakConnection) at System.Data.SqlClient.TdsParser.ThrowExceptionAndWarning(TdsParserStateObject stateObj) at System.Data.SqlClient.TdsParser.Run(RunBehavior runBehavior, SqlCommand cmdHandler, SqlDataReader dataStream, BulkCopySimpleResultSet bulkCopyHandler, TdsParserStateObject stateObj) export of the meter_value table: The value_delta of the record id63922136 (value_delta=20) does'nt correspond to the difference of the value field (2182920 - 2181480 = 1440) id meter_id value quality status negative_delta rate_of_change raw_delta value_delta cost_delta record_time time 63925152 1236 2182950 192 0 0 0 30 30 3E-10 2012-06-27 12:15:08.187 2012-06-27 12:15:00.533 63922136 1236 2182920 192 0 0 0 20 20 2E-10 2012-06-27 12:00:06.743 2012-06-27 12:00:00.567 63828270 1236 2181480 192 0 0 0 20 20 2E-10 2012-06-26 21:30:04.663 2012-06-26 21:30:00.000 63827614 1236 2181460 192 0 0 0 30 30 3E-10 2012-06-26 21:15:04.770 2012-06-26 21:15:00.000 End User company: The company is Barilla S.p.A. Pedrignano (PR) Italy I had a discussion with Marco Menegon of Wonderware Italy. He has been involved with Barilla from the beginning. Here are some comments he had. - Barilla started with CEM when it was a Beta product. - They were made a lot of promises and it sounds like they may have some custom solutions. That is why they have remained at CEM version 1.0 rather than upgrading to CEM 1.2. - The relationship between the Integrator and the end customer is not good, so it would probably a take a long time to get a backup of the Galaxy and the database. - The request was to have the Developer analyze the information given so far (see email thread below) and come up with a recommendation. This might be a hotfix or a recommendation to upgrade to CEM 1.2.
Expected Result: | N/A

## April-35
HotFix Released Detailed
Week: 13, 14 - 2013
ArchestrA Reports
Product | DI Objects Unassigned
Component | Redundant DI Object |  | Fernando Gonzalez
Hot Fix CR# | L00125506 | Hot Fix Status: | Released-Unverified
Summary: | Genentech 14812251:Using RDI object inside a Redundant Engine references goes to BAD bypassing the setting <<Maximum time to maintain good quality after failure>>
Actual Result: | GENENTECH:Using RDI object inside a Redundant Engine references goes to BAD bypassing the setting <<Maximum time to maintain good quality after failure>>
Expected Result: | Fix : this behavior is not consistent with the product documentation and with the Standard functionality without RDI object.

## April-36
HotFix Released Detailed
Week: 13, 14 - 2013
ArchestrA Reports
Product | Extensibility 3.5 Patch01
Component | OPC Proxy |  | Mirko Canel
Hot Fix CR# | L00125468 | Hot Fix Status: | Released-Unverified
Summary: | [GENENTECH]Testing matrikon OPC server asynchronous subscription we saw that the OPC DI object upon reconnection is reusing handles while invoking the AddItems.
Actual Result: | Items remain stuck initializing.
Expected Result: | Items do not remain stuck initializing.

## April-37
HotFix Released Detailed
Week: 13, 14 - 2013
ArchestrA Reports
Product | InSQL 9.0 Patch 02
Component | Delta Retrieval |  | Antonino Vella
Hot Fix CR# | L00125443 | Hot Fix Status: | Released-Unverified
Summary: | Issue: [Network Rail] When the Retrieval service attempts to retrieve data from a corrupted block, it consumes 100% CPU and requires terminating the process and removing the corrupted block
Actual Result: | Customer at times has corrupted blocks that contains files with 0kb. While this issue is under investigation, the customer has to constantly monitor the retrieval service. If a query is made that that will request data from the corrupted block, the retrieval service will consume 100% CPU and requires manually searching the historyblocks for corruption.
Expected Result: | Would like to find if retrieval service can be modified to handle encountering corrupted blocks. In this context, "handle" might be the simplest of any of the following: 1. Abort the entire query, returning no rows, and logging a message identifying the problematic tag(s) 2. Abort the query for the problematic tag(s), only returning rows for uncorrupted tags, and logging a message identifying the problematic tag(s). 3. Log a message identifying the first problematic tag and then crash the retrieval service, allowing the system to automatically restart it. 4. Attempt to salvage whatever data is easily accessible for the corrupted tag and return it, even if it is incomplete, logging a message that there is missing data for the tag.

## April-38
HotFix Released Detailed
Week: 13, 14 - 2013
ArchestrA Reports
Product | Industrial Application Server 3.5 Patch01
Component | xxSecurity |  | vladimir veselenyi
Hot Fix CR# | L00125024 | Hot Fix Status: | Released-Verified
Summary: | SR#103127400 Unable to log into InTouch with Galaxy security End customer is Nuclear Power Plant in Temelin (CF#107704) Customer has restored backup of the galaxy but wants to know what happened, apparently Galaxy data folder disappeared
Actual Result: | Operator was not able to log into InTouch after night shift had logged off. Authentication mode is Galaxy. Platform Manager in SMC showed only name of the Galaxy and did not require any authentication - the same behavior on all computers (OS, AOS, IS). SI was able to log into IDE and connect to Galaxy so SQL server on the GR was working. customers galaxy is uploaded on: http://www.uschovna.cz/zasilka/L45X7JAXDTG4JX88-96Z logs from the system are in attachment and closer description of the issue is in Notes
Expected Result: | N/A

## April-39
HotFix Released Detailed
Week: 15, 16 - 2013
ArchestrA Reports
Product | InBatch InBatch 9.6
Component | MaterialSrv |  | Matt Mummert
Hot Fix CR# | L00125832 | Hot Fix Status: | Released-Unverified
Summary: | [Genentech] MaterialSrv automation server is logging blank messages to SMC logger.
Actual Result: | Actual Results: 2732206 4/5/2013 2:41:33 PM 982 MaterialSrv 5476 6588 Info MaterialSrv 2732207 4/5/2013 2:41:33 PM 982 MaterialSrv 5476 6588 Info MaterialSrv
Expected Result: | Expected Results: 2735284 4/8/2013 2:32:37 PM 814 MaterialSrv 8132 5960 Info MaterialSrv Warning: Error occurred while updating backup MaterialDB! 2735285 4/8/2013 2:32:37 PM 814 MaterialSrv 8132 5960 Info MaterialSrv Warning: Backup MaterialDB is no longer synced!

## April-40
HotFix Released Detailed
Week: 15, 16 - 2013
ArchestrA Reports
Product | InSQL 10.0 SP1
Component | MDAS |  | Javier Aldan
Hot Fix CR# | L00125873 | Hot Fix Status: | Released-Unverified
Summary: | [Genentech] SR 44210353 - Handle leak in application engine unable to initialize storeforward.
Actual Result: | Periodically a couple of application engines are logging the following mesages in log viewer Trace aaEngine aahMDAS Starting to initialize storeforward [StorageNode.cpp,886] Trace aaEngine aahMDAS Storeforward tags added: initializing engine [StorageNode.cpp,941] Info aaEngine aahMDAS 0:318F6C StoreForward engine entering wait mode [aahMDASSF.cpp; 1702; 1] Warning aaEngine aahMDAS Could not initialize primary SF engine [StorageNode.cpp,970] Info aaEngine aahMDAS Node ccp1dhis01: Unable to initialize storeforward. [StorageNode.cpp,8157] Other engines in the same AOS do not log these messages. The problematic engines have <EngineName>.Engine.Historian.StoreForwardSpaceAvaialbe = 0 even when the disk has plenty of free space, the <EngineName>.Engine.Historian.StoreForwardDataLoss, <EngineName>.Engine.Historian.StoreForwardProblem attributes are false. The engines are not in Store&Forward mode and current history values are getting logged.
Expected Result: | Application Engines should not have a handle leak.

## April-41
HotFix Released Detailed
Week: 15, 16 - 2013
ArchestrA Reports
Product | InBatch InBatch 9.5 SP1
Component | Portal - ReportView |  | Srinivas Mariyala
Hot Fix CR# | L00125788 | Hot Fix Status: | Released-Unverified
Summary: | (HF) SR 103127121 - Wonderware United Kingdom customer Abbott Ireland upgrade from IB 8.0 to InBatch 9.5 SP1. The problem is with the Batch Journal report taking too long and timing out compared to the old IB 8.0 reporting.
Actual Result: | SR 103127121 - Batch Journal Report takes up to 4 minutes to run where with the old IB 8.0 reproting system it would take seconds.
Expected Result: | The Batch Journal Report should exicute is the same amount of time as it did in IB 8.0

## April-42
HotFix Released Detailed
Week: 15, 16 - 2013
ArchestrA Reports
Product | InBatch 9.0
Component | ReportQReader |  | Manohar
Hot Fix CR# | L00125601 | Hot Fix Status: | Released-Verified
Summary: | (HF) SR46110089 - Batch report could not be generated intermittently due to ReportQReader hung with unknown reason.
Actual Result: | As per my investigation, the service hung 2 to 4 times a week, I can observe the hung information from the system event log. After the issue happened, we have to kill the process from the task manager and then re-start the service to make everything back to OK. I have installed the DebugDiag tool on customer's machine and captured the dump files for your analysis. I have uploaded those dump files and log files to \\dev\Link\CQAttach\L00125518
Expected Result: | ReportQueReader should be running without any error.

## April-43
HotFix Released Detailed
Week: 15, 16 - 2013
ArchestrA Reports
Product | WW MES 4.0 SP 1
Component | MES Client |  | Srinivas Mariyala
Hot Fix CR# | L00125730 | Hot Fix Status: | Released-Unverified
Summary: | SR 103127807 - Dynamic routing codes are moving around in the work order when they scroll up or down within the work order.
Actual Result: | SR 103127087 - Customer is seeing an issue where the dynamic routing codes are moving around in the work order when they scroll up or down within the work order. They had earlier complained about the same issue with routing codes moving around in operations which was subsequently rectified with a hotfix (CR 115407/CRL00115577: SR 103122301). They claim that this is the very same behavior at the work order level now. Customer has applied following hotfixes: 115407 116866 116973 117595 117768 117338 116890 119997 118939
Expected Result: | See actual results

## April-44
HotFix Released Detailed
Week: 15, 16 - 2013
ArchestrA Reports
Product | WW MES 4.0
Component | MES Client |  | Spark Hong
Hot Fix CR# | L00125749 | Hot Fix Status: | Released-Verified
Summary: | SR 42410199 - APR job on Oracle database failed due to invalid date time format. Need to port the HF-L00111097/L00117592 to Oracle database.
Actual Result: | Error executing DBMaint SQL statement for Job [MaintenanceJob_001] Table [item_cons]: ORA-01843: not a valid month SQL executed: select * from item_cons where created_at_utc >= to_date('2013-3-3 10:00:00', 'MM/DD/YYYY HH:MI:SS AM') and created_at_utc < to_date('2013-3-3 16:00:00', 'MM/DD/YYYY HH:MI:SS AM') Status: CONTINUE EXECUTION
Expected Result: | APR job should be executed successfully.

## April-45
HotFix Released Detailed
Week: 15, 16 - 2013
ArchestrA Reports
Product | WW MES 4.0
Component | MES Client |  | Spark Hong
Hot Fix CR# | L00125748 | Hot Fix Status: | Released-Verified
Summary: | SR 42410196 - Archive is aborted due to out of memory. Need to port the HF-L00122690 back to MES 4.0.
Actual Result: | Unexpected exception while running DB Maintenance Job [MaintenanceJob_001] Table [item_cons] : Exception of type 'System.OutOfMemoryException' was thrown. Status: ABORT BY SYSTEM
Expected Result: | APR job should be executed successfully.

## April-46
HotFix Released Detailed
Week: 15, 16 - 2013
ArchestrA Reports
Product | WW MES 4.5
Component | MES Client |  | Spark Hong
Hot Fix CR# | L00125747 | Hot Fix Status: | Released-Verified
Summary: | SR 42410194 - The APR function cannot be executed on Oracle database in Chinese (or Non-English) O/S. Need to port the HF-L00117592/L00117953 (only for SQL Server) to MES 4.5 with Oracle.
Actual Result: | Error executing DBMaint SQL statement for Job [MaintenanceJob_002] Table [error_log]: ORA-01843: not a valid month SQL executed: delete from error_log where logged_at >= to_date('2012/11/23 4:00:00', 'MM/DD/YYYY HH:MI:SS AM') and logged_at <= to_date('2012/11/23 10:00:00', 'MM/DD/YYYY HH:MI:SS AM') status = CONTINUE EXECUTION We have HF-L00117592/L00117953 sovled the date format issue for SQL Server, but none for Oracle, need to port them to MES 4.5 with Oracle database.
Expected Result: | APR function should be working fine.

## April-47
HotFix Released Detailed
Week: 15, 16 - 2013
ArchestrA Reports
Product | InTouch 10.5 Patch01
Component | TrendClient (A2) |  | Luca Santinello
Hot Fix CR# | L00125122 | Hot Fix Status: | Released-Verified
Summary: | SR 43910676 - Archestra Trend Client performance issue. Trend Client is slow to retrieve Historical Data from the .lgh file. If the same operation is done by HistTrend Wizard control, the Historical Data is retrieved faster.
Actual Result: | Customer (Danieli Automation the most important customer for WW Italy) is using the Trend Client to retrieve Historical Data from the .lgh file. He has noticed that the trend obj performance degrade if the time window is enlarged (customer needs to display many hour or days) and if you increase the displayed tags number. Customer built an object in order to substitute the old Intouch "Trend Wizard", so he implemented similar functionalities, like time shift and window trend time duration enlarge commands. He tested the new functionality and noticed that a trend refresh, after a command, is executed in 5-10 seconds with 24 hour of data displayed and 4 pens. If the same operations have been done with HistTrend Wizard control, the Historical Data is retrieved and refreshed faster. He noticed also that the View.exe memory usage is dramatically different if the same data are displayed with the old object an the new one (Trend client requires hundred of MB for 1 day and 4 pen).
Expected Result: | Customer is bewildered by the test results and is requiring us if it is possible to find a solution to the described performance problems in order to have a Trend Client that works with the same refresh times like the Old Trend wizard object.

## April-48
HotFix Released Detailed
Week: 15, 16 - 2013
ArchestrA Reports
Product | WW MES 4.0
Component | MES Client |  | Spark Hong
Hot Fix CR# | L00125749 | Hot Fix Status: | Released-Unverified
Summary: | SR 42410199 - APR job on Oracle database failed due to invalid date time format. Need to port the HF-L00111097/L00117592 to Oracle database.
Actual Result: | Error executing DBMaint SQL statement for Job [MaintenanceJob_001] Table [item_cons]: ORA-01843: not a valid month SQL executed: select * from item_cons where created_at_utc >= to_date('2013-3-3 10:00:00', 'MM/DD/YYYY HH:MI:SS AM') and created_at_utc < to_date('2013-3-3 16:00:00', 'MM/DD/YYYY HH:MI:SS AM') Status: CONTINUE EXECUTION
Expected Result: | APR job should be executed successfully.

## April-49
HotFix Released Detailed
Week: 15, 16 - 2013
ArchestrA Reports
Product | WW MES 4.0
Component | MES Client |  | Spark Hong
Hot Fix CR# | L00125748 | Hot Fix Status: | Released-Unverified
Summary: | SR 42410196 - Archive is aborted due to out of memory. Need to port the HF-L00122690 back to MES 4.0.
Actual Result: | Unexpected exception while running DB Maintenance Job [MaintenanceJob_001] Table [item_cons] : Exception of type 'System.OutOfMemoryException' was thrown. Status: ABORT BY SYSTEM
Expected Result: | APR job should be executed successfully.

## April-50
HotFix Released Detailed
Week: 15, 16 - 2013
ArchestrA Reports
Product | WW MES 4.5
Component | MES Client |  | Spark Hong
Hot Fix CR# | L00125747 | Hot Fix Status: | Released-Unverified
Summary: | SR 42410194 - The APR function cannot be executed on Oracle database in Chinese (or Non-English) O/S. Need to port the HF-L00117592/L00117953 (only for SQL Server) to MES 4.5 with Oracle.
Actual Result: | Error executing DBMaint SQL statement for Job [MaintenanceJob_002] Table [error_log]: ORA-01843: not a valid month SQL executed: delete from error_log where logged_at >= to_date('2012/11/23 4:00:00', 'MM/DD/YYYY HH:MI:SS AM') and logged_at <= to_date('2012/11/23 10:00:00', 'MM/DD/YYYY HH:MI:SS AM') status = CONTINUE EXECUTION We have HF-L00117592/L00117953 sovled the date format issue for SQL Server, but none for Oracle, need to port them to MES 4.5 with Oracle database.
Expected Result: | APR function should be working fine.

## April-51
HotFix Released Detailed
Week: 15, 16 - 2013
ArchestrA Reports
Product | InSQL 10.0 SP1 Patch01
Component | Storage Block Mngt |  | Tomas Haviernik
Hot Fix CR# | L00125097 | Hot Fix Status: | Released-Unverified
Summary: | SR41910053 Historian - 10.0 : After end of Daylight Savings Time, history blocks change over at 11:00pm rather than at Midnight
Actual Result: | At the end of Daylight Savings Time (DST) when the operating system turns the computer clock time backwards, 24-hour history blocks for Historian Server v10.0 are changing over at 11:00pm rather than at Midnight. This behavior has been observed with Historian Server v10.0, but does not happen with IndustrialSQL Server v9.0 (see attached "Hist10_DST-2010-Fall.JPG" and "InSQL90_DST-2010-Fall.JPG" files). For example, A101106_001: (Saturday before DST) 2010-11-06 00:00:00.000 2010-11-07 00:00:00.000 A101107_001: (Sunday on DST; should end at midnight, not 23:00) 2010-11-07 00:00:00.000 2010-11-07 23:00:00.000 A101107_002: (after DST) 2010-11-07 23:00:00.000 2010-11-08 23:00:00.000 A101108_001: (after DST) 2010-11-08 23:00:00.000 2010-11-09 23:00:00.000 Workaround for now is to simply stop/restart the Historian Server, but manually forcing a block changeover mid-day may also cure the problem (I have not tested the latter solution).
Expected Result: | The backwards time change for the end of Daylight Savings Time should result in one 25-hour history block on the changeover day. And regardless of the time change, all 24-hour history blocks should changeover properly at Midnight every day.

## April-52
HotFix Released Detailed
Week: 15, 16 - 2013
ArchestrA Reports
Product | Industrial Application Server 3.1 SP2
Component | NMXSVC |  | Antonino Vella
Hot Fix CR# | L00109247 | Hot Fix Status: | Released-Unverified
Summary: | SR 40210925 : Engine Crashes with COM Errors HF2273. and SR 33410802 : installation of the HF 2273
Actual Result: | Customer wrote : Our customer's production system has now begun to spontaneously crash engines all with very similar error messages. I've attached an SMC log export from both an AppEngine crashing and a ViewEngine crashing as well. The crashes are happening in a Wonderware DLL so I can't diagnose the problem myself, but the COM error messages are contained in the SMC log files to help diagnosis. The main ones seem to be error 8007005 and 800706ba and are logged by NmxSvc. On the ViewEngine, the viewapp still runs but no Archestra Graphics show on the screen, just blank space. The Engines were fixed by undeploying and then redeploying them. When they go down like this, they don't failover to their redundant partners either.
Expected Result: | Need to investigate on the root cause - please see attached log messages....

## April-53
HotFix Released Detailed
Week: 15, 16 - 2013
ArchestrA Reports
Product | InTouch 10.5 Patch01
Component | ArchestrA Graphics |  | Mohamed Salah
Hot Fix CR# | L00125515 | Hot Fix Status: | Released-Unverified
Summary: | SR 103127690 :Space bar key works as Enter key in a Faceplate. (Refer to Investigation CR L00125124)
Actual Result: | One of our SI report the following issue: the Space bar key works as Enter key in a Faceplate. If a faceplate is opened and there is a focus around a graphical element with interaction animation (Pushbutton, Action script, Show Symbol and etc.), then a press of space bar key works as mouse click or the Enter key. The same Archestra Symbol embedded in a InTouch window works fine (no reaction to the space bar). I am able to replicate the issue. The End customer uses the Space bar to turn off an alarm sound notification. How to disable a reaction to the space bar in a faceplate?
Expected Result: | Space bar key should not works as Enter key in a Faceplate

## April-54
HotFix Released Detailed
Week: 15, 16 - 2013
ArchestrA Reports
Product | InTouch 10.5 Patch01
Component | Security |  | Kevin Nourbakhsh
Hot Fix CR# | L00125528 | Hot Fix Status: | Released-Verified
Summary: | SR 19818007 Need to port the fix from CR#L00120820 to 10.5 patch 01
Actual Result: | Need to port the fix from CR#L00120820 to 10.5 patch 01
Expected Result: | Should Disable the Key all the time.

## April-55
HotFix Released Detailed
Week: 15, 16 - 2013
ArchestrA Reports
Product | InBatch InBatch 9.5 SP1
Component | UnilinkMngr |  | Jim Godfrey
Hot Fix CR# | L00125711 | Hot Fix Status: | Released-Verified
Summary: | SR 103126651 Wonderware Benelux customer Friesland Foods upgraded from IB 8.1 SP1 to IB 9.5 SP1 and now UnilinkMngr shuts down randomly.
Actual Result: | We can't replicate the problem and it only happend once every few weeks. Speaking with Eric it appears UnilinkMngr is getting a meesage from a client that it can't read and UnilinkMngr just shutsdown. I have ADPLUS installed but not core files are created sicne it is not cashing but shutting down. Unexpected error [UnilinkMngr.c 367 (error: 2)]
Expected Result: | N/A

## April-56
HotFix Released Detailed
Week: 15, 16 - 2013
ArchestrA Reports
Product | WW MES 4.0 SP 1
Component | Database Scripts |  | Jim Godfrey
Hot Fix CR# | L00125738 | Hot Fix Status: | Released-Unverified
Summary: | Wonderware Spain customer Cobega found an issue with the Job_Util_Log_link where the Duration does not get updated under certain conditions.
Actual Result: | The Job_Util_Log_link Duration does not get updated under certain conditions.
Expected Result: | The Job_Util_Log_link Duration should always be updated.

## April-57
HotFix Released Detailed
Week: 15, 16 - 2013
ArchestrA Reports
Product | Tag Creators 1.0 SP2
Component | Siemens S7 Tag Creator |  | Uwe Schoss
Hot Fix CR# | L00125579 | Hot Fix Status: | Released-Unverified
Summary: | SR 45510210 and X ref 14433442 DAS S7 TagCreator update function does not work if a prefix or suffix is used for the Tagname
Actual Result: | DAS S7 TagCreator update function does not work if a Prefix or Suffix for the tagname is used. If you add in Step7 in a DB some new tags, all tags behind get a new item address. I think the problem is you could not configure the prefix or suffix as default.
Expected Result: | That the update function works if you use a prefix or suffix for the Tagname.

## April-58
HotFix Released Detailed
Week: 15, 16 - 2013
ArchestrA Reports
Product | AAWebGraphics 4.0 SP1
Component | aaWCF Service |  | Peter Von tluck
Hot Fix CR# | L00125609 | Hot Fix Status: | Released-Unverified
Summary: | SR45110038: Porsche Paintshop: Archestra.Visualzation.WCFService exception if "Linienübersicht" is opened in IE. CRef: L00118924 and L00118926
Actual Result: | Porsche paintshop has installed the HF 118924 and 118926. The application was running since almost 6 weeks. Since they republished some archestra graphics they are running into problems. Attached please find the logger and trace of the system DEZULCAMAP28.
Expected Result: | I found that the crash is in Archestra.Visualization.WCFService PublisherOperator class -> Changeme: catch (Exception exception4) { Logger.LogTrace("LMX WCF Service: Trace error message while ChangeMe process added and removed items: [" + exception4.Message + "] at [" + exception4.StackTrace + "]"); } finally { Monitor.Exit(this.m_ChangeMeItemClientDic); } try { if (((this.m_LmxPublisher != null) && (CommunicationState.Faulted != (this.m_LmxPublisher as IDuplexContextChannel).State)) && ((CommunicationState.Closing != (this.m_LmxPublisher as IDuplexContextChannel).State) && (CommunicationState.Closed != (this.m_LmxPublisher as IDuplexContextChannel).State))) { if (isRemoveSvc) { if (flag && (((newAdviseItems != null) && (0 < newAdviseItems.Length)) ¦¦ ((removeItems != null) && (0 < removeItems.Length)))) { this.m_LmxPublisher.ChangeMe(clientInfos, wcfInfos, newAdviseItems, removeItems); } } else if (((newAdviseItems != null) && (0 < newAdviseItems.Length)) ¦¦ ((removeItems != null) && (0 < removeItems.Length))) { this.m_LmxPublisher.ChangeMe(clientInfos, wcfInfos, newAdviseItems, removeItems); } } } catch (Exception exception5) { Logger.LogError("Exception while changing context to LMX: [" + exception5.Message + "] at [" + exception5.StackTrace + "]."); } }

## April-59
HotFix Released Detailed
Week: 15, 16 - 2013
ArchestrA Reports
Product | WW MES 4.5
Component | .NET Controls |  | Antonio Valieri
Hot Fix CR# | L00125712 | Hot Fix Status: | Released-Unverified
Summary: | [XREF SR31310054 - Wonderware Advanced Applications Team] 'Set Paused State' shown up when opening an ArchestrA symbol via ShowSymbol with MES progressbar in the calling window.
Actual Result: | If a MES Progress bar .Net control is present in an InTouch window and is called a .Net Utilization control in an ArchestrA graphics via ShowWindow, sometimes a 'Set paused state' popup is shown up even if not invoked at all.
Expected Result: | The system has not to display 'Set paused state' popup window as is not invoked.

## April-60
HotFix Released Detailed
Week: 15, 16 - 2013
ArchestrA Reports
Product | InSQL 10.0 SP1 Patch01
Component | MDAS |  | Javier Aldan
Hot Fix CR# | L00125804 | Hot Fix Status: | Released-Unverified
Summary: | [Genentech] SR 44210353 - Handle leak in application engine unable to initialize storeforward.
Actual Result: | Periodically a couple of application engines are logging the following mesages in log viewer Trace aaEngine aahMDAS Starting to initialize storeforward [StorageNode.cpp,886] Trace aaEngine aahMDAS Storeforward tags added: initializing engine [StorageNode.cpp,941] Info aaEngine aahMDAS 0:318F6C StoreForward engine entering wait mode [aahMDASSF.cpp; 1702; 1] Warning aaEngine aahMDAS Could not initialize primary SF engine [StorageNode.cpp,970] Info aaEngine aahMDAS Node ccp1dhis01: Unable to initialize storeforward. [StorageNode.cpp,8157] Other engines in the same AOS do not log these messages. The problematic engines have <EngineName>.Engine.Historian.StoreForwardSpaceAvaialbe = 0 even when the disk has plenty of free space, the <EngineName>.Engine.Historian.StoreForwardDataLoss, <EngineName>.Engine.Historian.StoreForwardProblem attributes are false. The engines are not in Store&Forward mode and current history values are getting logged.
Expected Result: | Application Engines should not have a handle leak.

## April-61
HotFix Released Detailed
Week: 15, 16 - 2013
ArchestrA Reports
Product | InTouch 10.5 Patch01
Component | TrendClient (A2) |  | Luca Santinello
Hot Fix CR# | L00125122 | Hot Fix Status: | Released-Unverified
Summary: | SR 43910676 - Archestra Trend Client performance issue. Trend Client is slow to retrieve Historical Data from the .lgh file. If the same operation is done by HistTrend Wizard control, the Historical Data is retrieved faster.
Actual Result: | Customer (Danieli Automation the most important customer for WW Italy) is using the Trend Client to retrieve Historical Data from the .lgh file. He has noticed that the trend obj performance degrade if the time window is enlarged (customer needs to display many hour or days) and if you increase the displayed tags number. Customer built an object in order to substitute the old Intouch "Trend Wizard", so he implemented similar functionalities, like time shift and window trend time duration enlarge commands. He tested the new functionality and noticed that a trend refresh, after a command, is executed in 5-10 seconds with 24 hour of data displayed and 4 pens. If the same operations have been done with HistTrend Wizard control, the Historical Data is retrieved and refreshed faster. He noticed also that the View.exe memory usage is dramatically different if the same data are displayed with the old object an the new one (Trend client requires hundred of MB for 1 day and 4 pen).
Expected Result: | Customer is bewildered by the test results and is requiring us if it is possible to find a solution to the described performance problems in order to have a Trend Client that works with the same refresh times like the Old Trend wizard object.