## 工作表1
HotFix Released Detailed
Week: 14, 15, 16, 17, 18 - 2014
ArchestrA Reports
Product | InTouch 11.0 Patch 01
Component | AlarmClient (A2) |  | Jan Migge
Hot Fix CR# | L00131297 | Hot Fix Status: | Released-Unverified
Summary: | SR 45510673 - Alarm client control displays a horizontal scroll bar after upgrade to SP2014 Patch 01
Actual Result: | Alarm client control displayed a horizontal scroll bar after upgrade to SP2014 Patch 01. The column configuration is correct. Since a single-line alarm Client is used by many customers, showing the most recent alarm in the Main window, this needs a redesign of all windows to be worked around. The issue also found in English OS. See Attatched PDF for Screenshots of the issue.
Expected Result: | Behavior of the Alarm Client should not change

## 工作表2
HotFix Released Detailed
Week: 14, 15, 16, 17, 18 - 2014
ArchestrA Reports
Product | WW MES 4.5
Component | Utilization Capability Object |  | Jim Godfrey
Hot Fix CR# | L00131453 | Hot Fix Status: | Released-Unverified
Summary: | Wonderware Wonderware Benelux customer Beenen B.V. has problem with the UCO allowable Reason not being saved when selected.
Actual Result: | The UCO allowable Reason not being saved when selected and if several others are selected 1 get selected automatically.
Expected Result: | the allowable Reason should be saved correcly and we should not automatically select one when selecting others.

## 工作表3
HotFix Released Detailed
Week: 14, 15, 16, 17, 18 - 2014
ArchestrA Reports
Product | InTouch 10.6 Patch01
Component | ArchVis-GraphicLibrary |  | David Ujifusa
Hot Fix CR# | L00131307 | Hot Fix Status: | Released-Unverified
Summary: | SR 15317227 - L00125105 settings to disable graphic persistency do not work in InTouch 10.6 P01
Actual Result: | The following is in the InTouch 10.6 P01 Readme in the Resolved Issues section. L00125105: HF CR L00124920: The behavior of ShowSymbol action and ShowGraphic script functions are not consistent when enabling "Cache ArchestrA Graphics not embedded in InTouch Windows" option in InTouch. If the "Cache ArchestrA Graphics not embedded in InTouch Windows" option is selected, then the symbol's location position is taken from cache until the script is not modified. If the symbol is moved, it does not effect the script and the new position of symbol is stored in cache. Next time when the symbol is opened, it appears in the same location from where it was previously closed. Solution: If the user does not want symbol persistency behavior, then create the DWORD value “DisableGraphicPersistency” in the following registry path and set its value to 1. 64-bit Windows: HKEY_LOCAL_MACHINE\SOFTWARE\Wow6432Node\Archestra\Framework\Visualization 32-bit Windows: HKEY_LOCAL_MACHINE\SOFTWARE\Archestra\Framework\Visualization I have a test app that I ran on InTouch 10.6 P01 and those settings do not work for my test app. See screen shots in the attached document L00125105Fail.docx. If I uncheck “Cache Archestra Graphics”, then the Show Graphic symbols come up in the expected location. See screen shots in the attached document UncheckCacheArchestraGraphics.docx. This is the workaround that the customer is currently using. I have attached the package files (InTouchViewApp.aaPKG and ThreeGraphics.aaPKG) for the test app and the script (ShowGraphicScript.txt) containing the Show Graphic.
Expected Result: | Expect that the Registry settings for CR L00124920 will disable graphic persistency.

## 工作表4
HotFix Released Detailed
Week: 14, 15, 16, 17, 18 - 2014
ArchestrA Reports
Product | Industrial Application Server 3.6 Patch01
Component | WWPackage Server |  | Thammayya Korada
Hot Fix CR# | L00131406 | Hot Fix Status: | Released-Unverified
Summary: | Nestle : Export the InTouch View App on Higher product version and import the same app on to lower versions causing WindowMaker to crash. (Need to merge the CR L00118430 fixed on WSP 2014)
Actual Result: | Export the InTouch View App on Higher product version and import the same app on to lower versions causing WindowMaker to crash.
Expected Result: | Import operation should be skipped, when the objects were exported and generated the package file on Higher version.

## 工作表5
HotFix Released Detailed
Week: 14, 15, 16, 17, 18 - 2014
ArchestrA Reports
Product | Industrial Application Server 3.6
Component | WWPackage Server |  | Thammayya Korada
Hot Fix CR# | L00131405 | Hot Fix Status: | Released-Unverified
Summary: | Nestle : Export the InTouch View App on Higher product version and import the same app on to lower versions causing WindowMaker to crash. (Need to merge the CR L00118430 fixed on WSP 2014)
Actual Result: | Export the InTouch View App on Higher product version and import the same app on to lower versions causing WindowMaker to crash.
Expected Result: | Import operation should be skipped, when the objects were exported and generated the package file on Higher version.

## 工作表6
HotFix Released Detailed
Week: 14, 15, 16, 17, 18 - 2014
ArchestrA Reports
Product | Industrial Application Server 3.6 Patch01
Component | WWPackage Server |  | Ravi Kandula
Hot Fix CR# | L00131156 | Hot Fix Status: | Released-Unverified
Summary: | FCS HF Request: Port CR L00128462 on top of FCS specific HF branch that includes HF L00128025
Actual Result: | The customer has gone through the aaBootstrap communications tech note and is able to deploy the GR platform but could not deploy the platform to a remote node. Both the GR and the client are 2008 R2 SP1.
Expected Result: | Requesting that the L00123983 fix be ported for AppServer 3.6 Patch01 as this issue was not listed in the Patch01 Readme under the Resolved Issues and the hotfix resolved the issue for other customers.

## 工作表7
HotFix Released Detailed
Week: 14, 15, 16, 17, 18 - 2014
ArchestrA Reports
Product | WW MES 4.5
Component | Database Scripts |  | Spark Hong
Hot Fix CR# | L00131059 | Hot Fix Status: | Released-Verified
Summary: | SR103131111 - JOB BOM incorrectly created for item with two BOM versions and nested BOMs.
Actual Result: | Issue#1: Everything is fine with SR31111_WO_04 which is supposed to be solved by L00130409, however the job information is not correct with SR31111_WO_05. Issue#2: The output item for 1st operation is not correct and the related job bom information is missing.
Expected Result: | The output item for operation and related job bom information should be correct for all avaialble scenarios.

## 工作表8
HotFix Released Detailed
Week: 14, 15, 16, 17, 18 - 2014
ArchestrA Reports
Product | ActiveFactory 10.0 SP2
Component | Trend |  | Mohamed Salah
Hot Fix CR# | L00129983 | Hot Fix Status: | Released-Verified
Summary: | SR 103130326 : Window Viewer crash by opening and closing several times window with aaTrend
Actual Result: | WindowViewer crash by opening and closing several times window with aaTrend
Expected Result: | Windowviewer continue to run without crashing.

## 工作表9
HotFix Released Detailed
Week: 14, 15, 16, 17, 18 - 2014
ArchestrA Reports
Product | Industrial Application Server 3.1
Component | xxSecurity |  | Srinivas Mariyala
Hot Fix CR# | L00131329 | Hot Fix Status: | Released-Unverified
Summary: | SR 15712833 Customer: Novartis Pharmaceuticals. Customer is unable to authenticate new user against the local active directory.
Actual Result: | [SR:20114109] Customer: Chevron. Customer is unable to authenticate user against the local active directory. Based on thier IT folks, WAS is trying to authenticate against their primary domain controller (which is block by thier firewall). refer to investigating CR L00117365.
Expected Result: | XXSecurity should authenticate user against the local active directory.

## 工作表10
HotFix Released Detailed
Week: 14, 15, 16, 17, 18 - 2014
ArchestrA Reports
Product | Industrial Application Server 4.0 Patch 01
Component | User Defined |  | Stephanie Bruder
Hot Fix CR# | L00131263 | Hot Fix Status: | Released-Unverified
Summary: | SR 34211303: End customer: Porsche, could not write to FieldAttribute if the Access Mode is set to Configured NOTE: The HF should be released for WSP 2014 Patch01
Actual Result: | could not write to FieldAttribute if the Access Mode is set to Configured
Expected Result: | Customer need 3 if possible more different security Groups.

## 工作表11
HotFix Released Detailed
Week: 14, 15, 16, 17, 18 - 2014
ArchestrA Reports
Product | InTouch 10.5
Component | WindowViewer |  | Marilou Aguinaldo
Hot Fix CR# | L00131374 | Hot Fix Status: | Released-Unverified
Summary: | SR 10417554: Graphics sometimes do not show the correct color animation. Have to force a refresh of the View display.
Actual Result: | The customer graphics include color animations. The graphics do not refresh consistently, sometimes yes, sometimes no (i.e. display the wrong color). The color is supposed to change when the state changes i.e. stopped motor should be green, running motor should be red. If you minimize the window then restore it the display color is updated, otherwise it will never change. We have installed 3 Foxboro Quick Fixes for FCS 4.04 that were related to this problem: Issue#1: Fillbar redraw issue WW CR: L00126239, FCS CAR: CAR#1162438 Filename: intspt.dll 1626.47.40.0 wm.exe 1626.723.40.9 wwkeypad.dll 1626.52.40.2 view.exe 1626.521.40.17 Issue#2: Decimal value redraw issue WW CR: L00130272 FCS CAR: CAR#1197451 Filename: view.exe; FileVersion: 1626.521.48.21 Issue#3: View hang issue WW CR: L00130823 FCS CAR: CAR#1206687 Filename: view.exe; FileVersion: 1626.521.50.23 (THIS VERSION INCLUDES PREVIOUS FIXES)
Expected Result: | The graphics should update as per the design (color animation) without having to force a refresh of the WindowViewer display

## 工作表12
HotFix Released Detailed
Week: 14, 15, 16, 17, 18 - 2014
ArchestrA Reports
Product | Industrial Application Server 4.0 Patch 01
Component | WWPackage Server |  | Ravi Kandula
Hot Fix CR# | L00131251 | Hot Fix Status: | Released-Unverified
Summary: | HF request to be released on top of WSP 2014-P01: Creation of the derieved strategy object fails with the Access denied error in SMC
Actual Result: | The errors are logged as below.. 2896 3/20/2014 11:05:35 AM 7156 3768 Error WWFsObject From mscorlib. Access to the path '\\INSR07\GalaxyBug-RW\2582\CheckedIn\a90dcbbd-e4c9-4099-878f-0b50ea9a02ef\SEQCode' is denied.. Access is denied. (80070005) raised at line 4133 in FsObject.cpp (in ). 2897 3/20/2014 11:05:35 AM 7156 3768 Error WWFsObject From mscorlib. Access to the path '\\INSR07\GalaxyBug-RW\2582\CheckedIn\a90dcbbd-e4c9-4099-878f-0b50ea9a02ef\SEQCode' is denied.. Access is denied. (80070005) caught at line 4194 in FsObject.cpp (in ).
Expected Result: | There should not be access denied errors in the SMC and derieved startegy should be able to get created with blocks.

## 工作表13
HotFix Released Detailed
Week: 14, 15, 16, 17, 18 - 2014
ArchestrA Reports
Product | InSQL 11.0 Patch 01
Component | Storage |  | Rich Liddell
Hot Fix CR# | L00131257 | Hot Fix Status: | Released-Unverified
Summary: | Query results are not correct. Null value is displaying with QD 10 after system reboot or SF occured.
Actual Result: | Run the following quey select DateTime,TagName,Value,QualityDetail from History where TagName = 'EF_Bailey_Retzlof_1H.STATUS' and DateTime >= '2014-03-24 11:52:18' and <= '2014-03-26 13:52:18' the results will not show a NULL QD or 10 at 12:52:18
Expected Result: | select DateTime,TagName,Value,QualityDetail from History where TagName = 'EF_Bailey_Retzlof_1H.STATUS' and DateTime >= '2014-03-24 11:52:18' the results will not show a NULL QD or 10 at 12:52:18 We should see a good value at 3/25 12:13:58 QD 248 and a bad value 3/26 12:52:18 Null QD 10

## 工作表14
HotFix Released Detailed
Week: 14, 15, 16, 17, 18 - 2014
ArchestrA Reports
Product | WW MES 4.5
Component | Database Scripts |  | Spark Hong
Hot Fix CR# | L00131059 | Hot Fix Status: | Released-Unverified
Summary: | SR103131111 - JOB BOM incorrectly created for item with two BOM versions and nested BOMs.
Actual Result: | Issue#1: Everything is fine with SR31111_WO_04 which is supposed to be solved by L00130409, however the job information is not correct with SR31111_WO_05. Issue#2: The output item for 1st operation is not correct and the related job bom information is missing.
Expected Result: | The output item for operation and related job bom information should be correct for all avaialble scenarios.

## 工作表15
HotFix Released Detailed
Week: 14, 15, 16, 17, 18 - 2014
ArchestrA Reports
Product | WW MES 4.5
Component | Database Scripts |  | Darryl McKenna
Hot Fix CR# | L00131288 | Hot Fix Status: | Released-Unverified
Summary: | The call aaMES.Quality.aaSample.RecordSampleData in the XML the last parameter is samplesxml. The sp SP_U_SAMPLE_RECORDSAMPLEDATA has sample_attr and thus this value is not passed to the sp.
Actual Result: | It pass Null to sample_attr parameter of the stored procedure
Expected Result: | It should pass the XML of the Samples() arguement (in the XML the parameter is sampleXML). If you rename the sp parameter to SampleXML it gets passed.

## 工作表16
HotFix Released Detailed
Week: 14, 15, 16, 17, 18 - 2014
ArchestrA Reports
Product | AAWebGraphics 10.6
Component | aaRuntime Library |  | Mohamed Salah
Hot Fix CR# | L00131065 | Hot Fix Status: | Released-Verified
Summary: | SR 40710011 : ArchestrA Graphic in published window seems it still loading but when open it in popup window it already loaded
Actual Result: | ArchestrA Graphic in published window seems it still loading but when open it in popup window it already loaded
Expected Result: | the same graphic in both popup window and regular window should be the same if they have the same connection

## 工作表17
HotFix Released Detailed
Week: 14, 15, 16, 17, 18 - 2014
ArchestrA Reports
Product | Industrial Application Server 3.5
Component | xxSecurity Editor |  | Kevin Nourbakhsh
Hot Fix CR# | L00131268 | Hot Fix Status: | Released-Unverified
Summary: | SR#40215638; IDE fails to add domain user to OS Security but is able to browse the Domain users. SR#40215638; port the Diag. fix from CR#L00130935 into a Hotfix
Actual Result: | SR#40215638; port the Diag. fix from CR#L00130935 into a Hotfix SR#40215638; IDE fails to add domain user to OS Security but is able to browse the Domain users. This investigation is created after the suggested HF from Old investigation CR#L00130541 failed. The Purpose of this investigation is to find changes done in 3.6 and port changes to 3.5 . Please see below for suggestion from Nagaraju Palakaluri. Note:ArchestrA.xxSecurityEditor.dll from 3.6 is working on customer system, and 3.5 version is not, and they both attached to the CR HF CR#L00130681 didn't resolve the issue Nagaraju Palakaluri --- 3/18/2014 12:34:15 PM] For Issues that we can't reproduce in-house, I would recommend you to send a diagnostic version first to confirm that it works OR Diagnostic message to prove that we are on right track. The original hot fix L00121085 was also never reproduced in-house. I searched investigation CR L00130541 for root cause analysis. This HF CR is created based on a test with 2012 R2 version of ArchestrA.xxSecurityEditor.dll But I would expect that your root cause analysis must provide clarity about why we need to port that CR. I request you to take up this CR with high priority. Cannot reproduce the problem with Magellan domain.
Expected Result: | Should be able to add poulated user from the list

## 工作表18
HotFix Released Detailed
Week: 14, 15, 16, 17, 18 - 2014
ArchestrA Reports
Product | InSQL 11.5
Component | Event System |  | Ted Beadlescomb
Hot Fix CR# | L00131201 | Hot Fix Status: | Released-Verified
Summary: | SR50410039 - Poking a String UDA with Alarm Priority Mapping enable for Historize User Events generates error and warning messages in the logger.
Actual Result: | Customer found this issue. Engine is enable for Historizing. Alarm Priority Mapping for User Events is enabled. You have a UDO.UDA String. Open Object viewer and add the UDA string to the watch list. Double click on the String Tag in the watch window and Enter Test followed by Cntl Enter (To generate a new line) The logger will generate an error and warning messages. Eventually the customer VM will stop working if you don't undeploy the UDO. See attach doc to see error/warning messages.
Expected Result: | Selecting CTRL enter for a UDA.String with Alarm Priority Mapping for User Events enabled should not generate error/warning msg and stop the VM.

## 工作表19
HotFix Released Detailed
Week: 14, 15, 16, 17, 18 - 2014
ArchestrA Reports
Product | WW MES 4.5
Component | Database Scripts |  | Andrea Sartori
Hot Fix CR# | L00130954 | Hot Fix Status: | Released-Unverified
Summary: | [Customer:Nestle][SR:43110388] MES Client fails to save new operation with a timeout error
Actual Result: | Adding a new operation to an existing process may fail with timeout depending on the underlying data structures in the database.
Expected Result: | Saving a new operation should be always quite fast, and never lead to a timeout.

## 工作表20
HotFix Released Detailed
Week: 14, 15, 16, 17, 18 - 2014
ArchestrA Reports
Product | WW MES 4.5
Component | Middleware |  | Dan Scott
Hot Fix CR# | L00131100 | Hot Fix Status: | Released-Verified
Summary: | SR 37113329 - Triggering UCO.ProdAttrs.StartJobCmd can result in timeouts if a job was running for a long period of time
Actual Result: | Customer has entities that are not run often, so they can start a job run for a day or two, then the entity may sit idle for a few weeks. When they start back up and attempt to trigger StartJobCmd to changeover to a new job, they can get timeouts (30s) and the new jobs are not started. When they execute this job changeover, there is a job started at the line start entity and line end entity, each with different Work Order IDs. ProductionAttributesRuntime1: StartJobCmd error encountered: Timeout expired. The timeout period elapsed prior to completion of the operation or the server is not responding.
Expected Result: | Job end/start should complete in a reasonable time.

## 工作表21
HotFix Released Detailed
Week: 14, 15, 16, 17, 18 - 2014
ArchestrA Reports
Product | InTouch 10.1 SP3 P01
Component | WindowMaker |  | Michael Ang
Hot Fix CR# | L00131226 | Hot Fix Status: | Released-Unverified
Summary: | SR41610654: Wrong window timestamp is retrieved in window importing dialog box. Azbil is requesting a hotfix to display the correct date modified field when importing windows. [Simplified Chinese]
Actual Result: | The modified date on windows to import is different from the modified date in windows file explorer.
Expected Result: | Windowmaker should retrieve the modified date on windows to import from the modified date in windows file explorer.

## 工作表22
HotFix Released Detailed
Week: 14, 15, 16, 17, 18 - 2014
ArchestrA Reports
Product | InTouch 10.1 SP3 P01
Component | WindowMaker |  | Michael Ang
Hot Fix CR# | L00131225 | Hot Fix Status: | Released-Unverified
Summary: | SR41610654: Wrong window timestamp is retrieved in window importing dialog box. Azbil is requesting a hotfix to display the correct date modified field when importing windows. [ Japanese]
Actual Result: | The modified date on windows to import is different from the modified date in windows file explorer.
Expected Result: | Windowmaker should retrieve the modified date on windows to import from the modified date in windows file explorer.

## 工作表23
HotFix Released Detailed
Week: 14, 15, 16, 17, 18 - 2014
ArchestrA Reports
Product | InTouch 10.6
Component | Wizards |  | Ragaei Mahmoud
Hot Fix CR# | L00131149 | Hot Fix Status: | Released-Unverified
Summary: | Xref SR 43911084 : Issue about Historical Trend and Language Switch.
Actual Result: | In window Viewer when the Language is changed in Russian or Italian from English Language, during the refresh operation the trend doesn't work properly showing a blink state for each refresh. This happen just if the Language setting is Russian or Italian or another language different from Default Language. As you know many InTouch users usually use InTouch Historical Trends Wizards as Trend in realtime by setting UpdateToCurrentTime to 1. Customer is using language setting in his application and he is facing on strange behavior of the Historical Trend Wizards when using a language different to the default one (US language).
Expected Result: | Language Switching should not affect on the view of the InTouch Historical Trends Wizards.

## 工作表24
HotFix Released Detailed
Week: 14, 15, 16, 17, 18 - 2014
ArchestrA Reports
Product | InTouch 10.6 Patch01
Component | WindowMaker |  | Alex Chia
Hot Fix CR# | L00131159 | Hot Fix Status: | Released-Unverified
Summary: | xRef SR 46110613 CR L00130552 Windowmaker: Zooming in and out of a specific window in application will crash Windowmaker. Customer upgraded to Patch 1 while Hotfix L00130552 was created. Requesting sam hotfix for IT 106 P01
Actual Result: | Customer upgraded InTouch application from 10.6 to 10.6 P01 Using Windowmaker, zooming in and out of a specific InTouch window "CONT PAN OVERVIEW" will crash Windowmaker
Expected Result: | Using Windowmaker, zooming in and out of any InTouch application windows will NOT crash Windowmaker

## 工作表25
HotFix Released Detailed
Week: 14, 15, 16, 17, 18 - 2014
ArchestrA Reports
Product | WW MES 4.0 SP 2
Component | Middleware |  | Oliver Varosanec
Hot Fix CR# | L00131234 | Hot Fix Status: | Released-Unverified
Summary: | SR: 37510410, End Customer: Pepsico; Error while updating an Entity when syncing OCO with Database using Entity Model Builder
Actual Result: | Customer is using Entity Model Builder to update an Entity and receive following ERROR: Some of the jobs for this entity are not completed or cancelled. These must be deleted or moved to a different entity before this capability can be removed.{4221} However there is not Job Running on this specific Entity all Jobs are either Cancelled or Completed Root cause is a bug in the ENT Tabke Trigger In the ENT Table Trigger tg_ent_aft_upd Line 135 the condition for the Error is supposed to be: IF EXISTS (SELECT TOP 1 1 FROM job WHERE (init_sched_ent_id = @ent_id OR target_sched_ent_id = @ent_id) AND (state_cd <> 4 AND state_cd <> 7)) BEGIN RAISERROR('Some of the jobs for this entity are not completed or cancelled. These must be deleted or moved to a different entity before this capability can be removed.{4221}', 16, 1, @@error) BREAK END **************************************************************************************************************************** Also in Line 200 you need to make this Change IF EXISTS (SELECT TOP 1 1 FROM job WHERE (run_ent_id = @ent_id) AND (state_cd <> 4 AND state_cd <> 7)) BEGIN RAISERROR('Some of the jobs for this entity are not completed or cancelled. These must be deleted or moved to a different entity before this capability can be removed.{4221}', 16, 1, @@error) BREAK END There is an OR instead of an AND between (state_cd <> 4 AND state_cd <> 7) in the Query.
Expected Result: | Please release an official Hotfix and fix this Issue in future Versions

## 工作表26
HotFix Released Detailed
Week: 14, 15, 16, 17, 18 - 2014
ArchestrA Reports
Product | Extensibility 3.5
Component | Redundant DI |  | Gary Alldredge
Hot Fix CR# | L00130295 | Hot Fix Status: | Released-Unverified
Summary: | SR 10512273 - Engine hosting Redundant DI object leaks memory.
Actual Result: | Engine hosting Redundant DI object leaks memory if communications are interrupted (RDIO redeployed, DIO redeployed, daserver disabled, daserver suspends updates) the engine hosting RDI memory grows. It also grows slowly over time at a slower rate regardless.
Expected Result: | No memory leak in engine hosting Redundant DI objects.

## 工作表27
HotFix Released Detailed
Week: 14, 15, 16, 17, 18 - 2014
ArchestrA Reports
Product | Industrial Application Server 3.6 Patch01
Component | Engine Category |  | Rich Liddell
Hot Fix CR# | L00131199 | Hot Fix Status: | Released-Unverified
Summary: | SR 49410012 - Nestle - HF L00127379 need to be duplicated for WSP 2012 R2 P01. **Port fix from CR L00127379
Actual Result: | Customer experienced a problem with both application engines active at the same time in production, causing the system to behave incorrectly. Looking to log files it seems that an engine was started on a server and took over as Active (while nothing is traced by corresponding engine on the other server), but the engine was already active on the other server and both started working in parallel. After engines were redeployed they started working correctly.
Expected Result: | Engines should not get both active at the same time.

## 工作表28
HotFix Released Detailed
Week: 14, 15, 16, 17, 18 - 2014
ArchestrA Reports
Product | InSQL 11.5
Component | Event System |  | Ted Beadlescomb
Hot Fix CR# | L00131201 | Hot Fix Status: | Released-Unverified
Summary: | SR50410039 - Poking a String UDA with Alarm Priority Mapping enable for Historize User Events generates error and warning messages in the logger.
Actual Result: | Customer found this issue. Engine is enable for Historizing. Alarm Priority Mapping for User Events is enabled. You have a UDO.UDA String. Open Object viewer and add the UDA string to the watch list. Double click on the String Tag in the watch window and Enter Test followed by Cntl Enter (To generate a new line) The logger will generate an error and warning messages. Eventually the customer VM will stop working if you don't undeploy the UDO. See attach doc to see error/warning messages.
Expected Result: | Selecting CTRL enter for a UDA.String with Alarm Priority Mapping for User Events enabled should not generate error/warning msg and stop the VM.

## 工作表29
HotFix Released Detailed
Week: 14, 15, 16, 17, 18 - 2014
ArchestrA Reports
Product | AAWebGraphics 10.6
Component | aaRuntime Library |  | Mohamed Salah
Hot Fix CR# | L00131065 | Hot Fix Status: | Released-Unverified
Summary: | SR 40710011 : ArchestrA Graphic in published window seems it still loading but when open it in popup window it already loaded
Actual Result: | ArchestrA Graphic in published window seems it still loading but when open it in popup window it already loaded
Expected Result: | the same graphic in both popup window and regular window should be the same if they have the same connection

## 工作表30
HotFix Released Detailed
Week: 14, 15, 16, 17, 18 - 2014
ArchestrA Reports
Product | ActiveFactory 10.1
Component | ActiveX Controls |  | Hongjoe Yang
Hot Fix CR# | L00130339 | Hot Fix Status: | Released-Unverified
Summary: | SR NO # 44710206. View.exe's memory usage with Three trends windows(InTouch) shows constant increasing while open&close it. Memory usage of view.exe after 1st open/close - 56,564KB, it reached 100,000KB at 10th open/close
Actual Result: | Memory usage of view.exe is increasing continuously
Expected Result: | Memory usage of view.exe is constant

## 工作表31
HotFix Released Detailed
Week: 14, 15, 16, 17, 18 - 2014
ArchestrA Reports
Product | ActiveFactory 10.0 SP2
Component | Trend |  | Mohamed Salah
Hot Fix CR# | L00129983 | Hot Fix Status: | Released-Unverified
Summary: | SR 103130326 : Window Viewer crash by opening and closing several times window with aaTrend
Actual Result: | WindowViewer crash by opening and closing several times window with aaTrend
Expected Result: | Windowviewer continue to run without crashing.

## 工作表32
HotFix Released Detailed
Week: 14, 15, 16, 17, 18 - 2014
ArchestrA Reports
Product | Industrial Application Server 3.6
Component | Alarms |  | Ali Ibrahim
Hot Fix CR# | L00130791 | Hot Fix Status: | Released-Verified
Summary: | SR 40215771: The quality of "InAlarm" gets stuck in the "Initializing" state. (HF request)
Actual Result: | The quality of "InAlarm" gets stuck in the "Initializing" state. It appears that if the AlarmMode of the attribute is set to ‘Disable’ when the instance is set off scan, when the instance is set back on scan the quality of the ‘.InAlarm’ attribute for any alarmed attribute remains stuck as initializing. When the InAlarm state becomes stuck initializing it affects the visualization in HMI as the animations linked with that attribute will show incorrect values. In our template we have a script that aggregates the ‘.InAlarm’ states of multiple (approximately 10) alarms together into a single UDA. The value of this UDA is then used in animations in an ArchestrA Graphic for display purposes to indicate the alarm state. When the ‘.InAlarm’ state is initialising the script that aggregates the alarm states together does not work as expected, the UDA is not updated and the quality is set to initialising. On the HMI this leads to the graphic showing an alarm state when there are no active alarms.
Expected Result: | The quality of "InAlarm" should not stuck in "Initializing" so the animations linked with that attribute show correct values.

## 工作表33
HotFix Released Detailed
Week: 14, 15, 16, 17, 18 - 2014
ArchestrA Reports
Product | WW MES 4.5
Component | MES Client |  | Ali Ibrahim
Hot Fix CR# | L00131106 | Hot Fix Status: | Released-Verified
Summary: | SR # 103131019: Default language is not applied when Automatic Login is enabled.
Actual Result: | Default language is not applied when Automatic Login is enabled. Under OS User security and while the Automatic Login is enabled, the customer has defined the Default Language for the "AAA" user as "Russian". When the customer starts MES Client under AAA user, MES Client always opens with the English language. For your information, the issue doesn't happen when the Automatic Login option is disabled. More Details SQL Server 2008 R2 SP2 ASP 2012R2 MES2012
Expected Result: | The MES Client should open under the default language defined for the logged-in user.

## 工作表34
HotFix Released Detailed
Week: 14, 15, 16, 17, 18 - 2014
ArchestrA Reports
Product | WW MES 4.5
Component | Database Scripts |  | Antonio Valieri
Hot Fix CR# | L00129907 | Hot Fix Status: | Released-Verified
Summary: | [XREF SR103130204 - Wonderware South Africa] - Using create Work Order from process, JOB_BOM records are created wrong.
Actual Result: | WW South Afriva have a situation where a process that can produce multiple items incorrectly create the JobBom tables for the operations when creating the Works Order from Process. They have loaded the HF CRL00123288 but still the JobBoms are incorrectly created.
Expected Result: | Properly create Job_BOM records based on the process configuration.

## 工作表35
HotFix Released Detailed
Week: 14, 15, 16, 17, 18 - 2014
ArchestrA Reports
Product | Industrial Application Server 3.6
Component | Alarms |  | Ali Ibrahim
Hot Fix CR# | L00130791 | Hot Fix Status: | Released-Unverified
Summary: | SR 40215771: The quality of "InAlarm" gets stuck in the "Initializing" state. (HF request)
Actual Result: | The quality of "InAlarm" gets stuck in the "Initializing" state. It appears that if the AlarmMode of the attribute is set to ‘Disable’ when the instance is set off scan, when the instance is set back on scan the quality of the ‘.InAlarm’ attribute for any alarmed attribute remains stuck as initializing. When the InAlarm state becomes stuck initializing it affects the visualization in HMI as the animations linked with that attribute will show incorrect values. In our template we have a script that aggregates the ‘.InAlarm’ states of multiple (approximately 10) alarms together into a single UDA. The value of this UDA is then used in animations in an ArchestrA Graphic for display purposes to indicate the alarm state. When the ‘.InAlarm’ state is initialising the script that aggregates the alarm states together does not work as expected, the UDA is not updated and the quality is set to initialising. On the HMI this leads to the graphic showing an alarm state when there are no active alarms.
Expected Result: | The quality of "InAlarm" should not stuck in "Initializing" so the animations linked with that attribute show correct values.

## 工作表36
HotFix Released Detailed
Week: 14, 15, 16, 17, 18 - 2014
ArchestrA Reports
Product | Industrial Application Server 3.6 Patch01
Component | User Defined |  | Prerana Kulkarni
Hot Fix CR# | L00130600 | Hot Fix Status: | Released-Unverified
Summary: | xRef SR 103130791 - Ondatachange event is generated continuously when FA is configured with scalling
Actual Result: | Application Server 2012 R2 and MxAccess Toolkit 2012 R2 (v 3.2) is used. Ondatachange event is generated when there is a change in: value, Time or Quality. But if a Field Attribute is configured with scalling and the value is out of range of the raw value then this event is generate continuosly.
Expected Result: | OnDatachange event should occur only once, even if value entered is out of range and bad quality

## 工作表37
HotFix Released Detailed
Week: 14, 15, 16, 17, 18 - 2014
ArchestrA Reports
Product | WWInfoServer WIS 5.0 P01
Component | Reporting - Reports |  | Roopa Herunde
Hot Fix CR# | L00131005 | Hot Fix Status: | Released-Unverified
Summary: | SR# 24412611 : Release Diagnostic hot fix #L00128716 for version 5.0 P01
Actual Result: | When they click on an Archestra Report link in WIS portal, it shows as Loading... (spinning green circle) for some time (90 seconds) and the icon disappears. The report doesn't show up. This link runs a really long query that the distributor built for the customer. On SQL reporting services website, the same query completes successfully within 2 minutes. Other Archestra reports with shorter query work fine in WIS portal. Nothing in SMC. Notes: We have verified a lot of settings and modified time out on a few but those did not resolve the problem. Attached is a document with the list of things that have been tried. I have also attached the following: 1. Stored procedure that gets called by the problem Archestra report, 2. Log files from the WIS server 3. SQL profiler trace file 4. C:\Inetpub\Logs\FailedRepLogFiles\ fr000001.xml file 5. ReportserverService_<Date_Time>.log file (from in C:\Program Files (x86)\Microsoft SQL Server\...\Reporting Services\LogFiles folder) As per distributor: “It seems like its timing out right at 90 seconds if I use a stopwatch. I tried making the query shorter that 90 seconds and that worked, but if it takes longer it does nothing. The Loading box disappears right at 90 seconds.”
Expected Result: | Why is the report timing out? Is there a user configurable time out setting increasing which will help query run to completion and display the report in WIS portal? Need help in finding the cause and resolution for this issue.

## 工作表38
HotFix Released Detailed
Week: 14, 15, 16, 17, 18 - 2014
ArchestrA Reports
Product | QI Analyst 8.0 SP3
Component | Charts |  | Roopa Herunde
Hot Fix CR# | L00130962 | Hot Fix Status: | Released-Unverified
Summary: | Sr#24412618 : QI Analyst crashes with “Buffer overrun detected” error when creating Pareto of nonconformities chart on Multiple Attribute columns.
Actual Result: | Creating Pareto of nonconformities chart on Multiple Attribute columns results in “Buffer overrun detected” error if the total number of characters in the names of all the selected columns exceeds 72. Clicking ok on this error crashes QI Analyst. Looks like this is a bug introduced in QI 8.0 SP3 I was not able to reproduce it on QI8.0 SP2. Pareto of Nonconformities works fine here without the 72 characters restriction.
Expected Result: | Pareto of nonconformities chart on Multiple Attribute columns should work fine irrespective of the number of characters in the selected column names.

## 工作表39
HotFix Released Detailed
Week: 14, 15, 16, 17, 18 - 2014
ArchestrA Reports
Product | SCADAlarm 6.0 SP2 Patch 01
Component | Installation |  | Antonino Vella
Hot Fix CR# | L00130957 | Hot Fix Status: | Released-Unverified
Summary: | [SR:33411349]-[Customer:Motorola]-[Issue: running a silent install using dos command cause an issue on LicenseFilePath registry setting ]
Actual Result: | The registry value has wrong value after installing SCADAlarm™ 6.0 SP1 Patch 01 using command line with parameters (/q, /quiet, etc). If we install the Patch 01 without parameters the value is correct.
Expected Result: | no issue and no difference running the installation using DOS Command vs normal installation

## 工作表40
HotFix Released Detailed
Week: 14, 15, 16, 17, 18 - 2014
ArchestrA Reports
Product | WW MES 4.5
Component | MES Client |  | Ali Ibrahim
Hot Fix CR# | L00131106 | Hot Fix Status: | Released-Unverified
Summary: | SR # 103131019: Default language is not applied when Automatic Login is enabled.
Actual Result: | Default language is not applied when Automatic Login is enabled. Under OS User security and while the Automatic Login is enabled, the customer has defined the Default Language for the "AAA" user as "Russian". When the customer starts MES Client under AAA user, MES Client always opens with the English language. For your information, the issue doesn't happen when the Automatic Login option is disabled. More Details SQL Server 2008 R2 SP2 ASP 2012R2 MES2012
Expected Result: | The MES Client should open under the default language defined for the logged-in user.

## 工作表41
HotFix Released Detailed
Week: 14, 15, 16, 17, 18 - 2014
ArchestrA Reports
Product | WW MES 4.5
Component | Middleware |  | Dan Scott
Hot Fix CR# | L00131100 | Hot Fix Status: | Released-Unverified
Summary: | SR 37113329 - Triggering UCO.ProdAttrs.StartJobCmd can result in timeouts if a job was running for a long period of time
Actual Result: | Customer has entities that are not run often, so they can start a job run for a day or two, then the entity may sit idle for a few weeks. When they start back up and attempt to trigger StartJobCmd to changeover to a new job, they can get timeouts (30s) and the new jobs are not started. When they execute this job changeover, there is a job started at the line start entity and line end entity, each with different Work Order IDs. ProductionAttributesRuntime1: StartJobCmd error encountered: Timeout expired. The timeout period elapsed prior to completion of the operation or the server is not responding.
Expected Result: | Job end/start should complete in a reasonable time.

## 工作表42
HotFix Released Detailed
Week: 14, 15, 16, 17, 18 - 2014
ArchestrA Reports
Product | InTouch 10.6
Component | WindowMaker |  | Alex Chia
Hot Fix CR# | L00130552 | Hot Fix Status: | Released-Verified
Summary: | xRef SR 103130702 Windowmaker: Zooming in and out of a specific window in application will crash Windowmaker. End customer discovered while upgrading from InTouch 9.5
Actual Result: | Customer upgraded InTouch application from 9.5 to latest 10.6 Using Windowmaker, zooming in and out of a specific InTouch window "CONT PAN OVERVIEW" will crash Windowmaker
Expected Result: | Using Windowmaker, zooming in and out of any InTouch application windows will NOT crash Windowmaker

## 工作表43
HotFix Released Detailed
Week: 14, 15, 16, 17, 18 - 2014
ArchestrA Reports
Product | InTouch 10.5 Patch01
Component | AlarmClient (A2) |  | Ragaei Mahmoud
Hot Fix CR# | L00130991 | Hot Fix Status: | Released-Verified
Summary: | SR 103129187, 42010090, 103129638,103130123 - !AlmLstEndPaint - nested paint and !AlmBufFreeSemaphore
Actual Result: | InTouch 10.5 patch1, Customer: Thiriet, InTouch crashes with the following message in the logger: !AlmLstEndPaint - nested paint and !AlmBufFreeSemaphore - Error: (298) - Un s?maphore a subi trop d?inscriptions
Expected Result: | InTouch shouldn't crach

## 工作表44
HotFix Released Detailed
Week: 14, 15, 16, 17, 18 - 2014
ArchestrA Reports
Product | InTouch 10.6 Patch01
Component | ArchestrA Graphics |  | Luca Bruni
Hot Fix CR# | L00130469 | Hot Fix Status: | Released-Verified
Summary: | When a 2 TrendClient are using the same relative references only one of them will be able to retrive the data from the Historian. Refer to L00129035 investigation completed
Actual Result: | Refer to L00129035 investigation completed for IT 10.6. The customer has the same issue on 10.6 Patch1 and requested to fix it: If you have a double trend on the same Graphic with same relative pen reference and relative Historical Tag only one will be able to retrieve data from Historian and plot correctly the graph after closing and opening the window.
Expected Result: | I expect to see the 2 Trend plotted correctly even using the relative reference.

## 工作表45
HotFix Released Detailed
Week: 14, 15, 16, 17, 18 - 2014
ArchestrA Reports
Product | Industrial Application Server 3.6 Patch01
Component | IDE |  | Kevin Nourbakhsh
Hot Fix CR# | L00130716 | Hot Fix Status: | Released-Verified
Summary: | SR#19818424; The corrupted symbol in the Object can disable the Symbol editor embed graphic. GraphicBrowserControl throws Exception and Crash.
Actual Result: | SR#19818424; The corrupted symbol in the Object can disable the Symbol editor embed graphic. Two issues: 1. XML string in "str = encoding.GetString(buffer)" does not have proper Escape. 2. GraphicBrowserControl should not crash if any wrong symbol reading. Instead, we should have proper error handling to tell customer what's wrong and let customer contrinue to use GraphicBrowserControl.
Expected Result: | Bad symbol that is deleted should not affect the symbol editor embed functionality

## 工作表46
HotFix Released Detailed
Week: 14, 15, 16, 17, 18 - 2014
ArchestrA Reports
Product | WW MES 4.6
Component | Middleware |  | Andrea Sartori
Hot Fix CR# | L00130577 | Hot Fix Status: | Released-Unverified
Summary: | [Customer:Nestle][SR:43110379] When MES split long downtime event (same reas-cd, same state_cd) against a shift, the new event_time_local doesn’t fit properly shift_start_local.
Actual Result: | When MES split long downtime event (same reas-cd, same state_cd) against a shift, the new event_time_local doesn’t fit properly shift_start_local. See extract from “util_log” table: event_time_local ent_id shift_id shift_start_local state_cd reas_cd duration 2014-02-19 06:00:03.000 406 1 2014-02-19 06:00:00.000 22 2862 28799 2014-02-19 14:00:02.000 406 2 2014-02-19 14:00:00.000 22 2862 28800 2014-02-19 22:00:02.000 406 3 2014-02-19 22:00:00.000 22 2862 28799 2014-02-20 06:00:01.000 406 1 2014-02-20 06:00:00.000 22 2862 28802 2014-02-20 14:00:03.000 406 2 2014-02-20 14:00:00.000 22 2862 1198
Expected Result: | When a split is automatically executed at shift change the second of the Event should be the same as Shift Start time